Laboratory Medicine Practice Guidelines for the Evaluation of the High-Risk Pregnancy

Edward R. Ashwood, M.D.

Professor of Pathology

University of Utah

Director of Laboratories and Chief Medical Officer

ARUP Laboratories, Inc.

Although there are a number of medical conditions that can affect the pregnant patient, these laboratory medicine guidelines review two high-risk pregnancy topics: (1) preterm birth and (2) fetal lung maturity.

Clinicians commonly classify pregnancies as low- and high-risk. Many causes contribute to the high-risk classification (see Table 1).

Table 1. High-risk pregnancies

Preterm Birth

Premature Rupture of Membranes

Twins and higher multiples

Isoimmunization Disease

Liver Disease

Pre-eclampsia (including HELLP)

Fetal anomalies

Infections (e.g. Group B streptococcus, HIV)

Maternal conditions (e.g. Graves)

Preterm Birth

Normal human gestations are approximately 40 weeks in duration. Preterm birth is delivery of the infant prior to 37 weeks’ gestation. Those births before 32 weeks’ are classified as very preterm birth. Newborns can also be classified by birth weight. Any infant <2500 g is classified as low birth weight (LBW) and those <1500 g are very low birth weight (VLBW). Preterm birth and LBW are the most common of the high-risk pregnancies.1 Although from 1981 to 2000, the incidence of very preterm birth in the U.S. has been constant at 1.9 %, the incidence of preterm birth has increased from 9.4 to 11.6%.1

A variety of obstetrical and maternal conditions precede preterm birth, Table 2. Some of these conditions are causative and others are merely associations.

Table 2. Conditions associated with preterm birth

| Obstetical | Maternal |
| --- | --- |
| Preterm Labor | Previous preterm birth |
| Preterm ruptured membranes | Diabetes |
| Pre-eclampsia | Asthma |
| Abruptio placenta | Drug abuse |
| Multiple gestation | Pyelonephritis |
| Placenta previa | Maternal race (higher in African Americans) |
| Fetal growth retardation | Poor nutrition |
| Excessive or inadequate amniotic fluid volume | Low pre-pregnancy weight |
| Fetal anomalies | Inadequate prenatal care |
| Amnionitis | Strenuous work |
| Incompetent cervix | High personal stress |
|  | Anemia |
|  | Tobacco use |
|  | Infections |

Preterm birth is categorized as spontaneous or indicated. Spontaneous preterm birth is more frequent, accounting for about ¾ of the cases, and occurs unplanned. The causes of spontaneous preterm birth include preterm labor, preterm premature rupture of membranes, amnionitis, and incompetent cervix. In ¼ of preterm birth cases the mother or fetus has a disorder that improves following delivery, for example pre-eclampsia or fetal distress. Early delivery in these cases is apt to improve both maternal and fetal outcomes. The clinician may therefore elect an early delivery. These preterm births are therefore indicated.

Even though the preterm birth rate has worsened, the infant morbidity and mortality rate for the preterm birth has improved. In 1980 the infant mortality rate in the United States was 12.6 per 1,000 live births. This declined to 6.9 per 1,000 live births in 2000.2 Morbidity following preterm birth includes respiratory distress syndrome (RDS), bronchopulmonary dysplasia, intraventricular hemorrhage, patent ductus arteriosus, necrotizing enterocolitis, and sepsis. Most preterm infants have extended hospital stays.

# Tests for predicting preterm birth

Several tests have been advocated to predict preterm birth, including fetal fibronectin (fFN), cervical length by ultrasound, salivary estriol (Sal-Est), alkaline phosphatase, and maternal serum alpha-fetoprotein, and granulocyte colony stimulating formation.

Fetal fibronectin (fFN)

Fibronectin is adhesive glycoprotein that cross-links collagen to bind cells together. The fetal form has a unique epitope. Labor increases fFN in cervical and vaginal secretions. The specimen is obtained by collecting vaginal secretions in a specially designed Dacron swab. When fully saturated, the swab contains approximately 150 µL of secretions. fFN  is measured by immunoassay; vaginal secretion fFN concentrations less than 50 ng/mL indicate that delivery is not imminent. Amniotic fluid is rich in fFN, therefore the test cannot be used in women with ruptured membranes. The FDA has approved fFN for the diagnosis of impending premature delivery in symptomatic women who are 24.0 to 34.9 weeks’ gestation. For asymptomatic women who are 22 to 30.9 weeks’ gestation, fFN is FDA approved for predicting the risk of preterm delivery. In this group, the positive predictive value is a low 13%, but the negative predictive value is high at 99.5%.3

Half of mothers thought to be in preterm labor deliver at term without treatment. Without fFN testing, 20% of those sent home, deliver preterm. For predicting delivery within 7 days, in symptomatic women, studies4, 5, 6, 7 have determined the sensitivity to be 57-93% and specificity to be 73-92% in women 24 to 34.9 weeks’ gestation. The positive predictive value has varied from 9 to 29%, whereas the negative predictive value is much higher at 97-99.6%.

Recommendation: Use of fFN to veto the decision to admit a symptomatic patient to the hospital who is thought to be 24.0 to 34.9 weeks’ gestation is cost effective.

Using fFN as a test to overrule the medical decision to admit a suspected preterm labor patient to the hospital appears to be cost-effective.8 The baseline costs were estimated in women without the use of fFN. If fFN is used in women with mild preterm labor symptoms, more than twice as many would be admitted to the hospital, nearly doubling the cost. When used to exclude admissions in women with more significant preterm labor symptoms, fFN would decrease costs by about 18%. Thus, proper use of fFN is necessary to prevent unnecessary admissions and increasing health care costs.

Recommendation: although some studies report that fFN might be useful in predicting which women could have labor induced therapeutically, more outcome studies are needed to determine the cost-benefit of this use.

Use of fFN has been proposed at term (38 to 42 weeks’ gestation) to predict probability that delivery can be induced (reviewed in reference 9). Most clinicians rely on the Bishop score10 or cervical dilatation11 for this assessment.

Salivary Estriol (Sal-Est)

Esteriol is a steroid hormone made by placenta from 16α-hydroxyl dehydroepiandosterone sulfate (16(-OH DHEA-S). This intermediate requires functioning fetal liver and adrenal glands. Esteriol is excreted in milligram amounts per day and rises throughout pregnancy. Salivary estriol reflects unbound, unconjugated serum estriol and is approximately 1.00 ng/mL at 30 weeks and 3.00 ng/mL at term. There is a surge in salivary esteriol about 5 weeks prior to delivery.12 Salivary estriol is “still under assessment and should not be used outside research protocols.”13

Recommendation: there is insufficient evidence to recommend the routine use of salivary estriol during pregnancy.

Predicting Spontaneous Preterm Birth

A large multicenter trial14 termed the Preterm Prediction Study was conducted to identify a population at risk for preterm birth. Twenty-eight biologic markers were included. The study subjects were asymptomatic at 23-24 weeks’ gestation. The outcomes were preterm delivery at <32 and <35 weeks’ gestation.

Table 3. Predictors of preterm birth <35 wks*

| Predictor | Odds Ratio |
| --- | --- |
| Fetal Fibronectin (>50 ng/mL) | 6.6 |
| Alkaline phosphatase (>90th percentile) | 4.0 |
| History of preterm birth | 4.0 |
| Cervical length ((25 mm) | 3.9 |
| Maternal serum alpha-fetoprotein (>90th percentile) | 3.9 |
| Granulocyte CSF (>75th percentile) | 3.1 |

*From reference 14.

Recommendation: Preterm birth interventions are not effective in asymptomatic women, therefore tests, such as fFN and salivary estriol, that predict preterm birth in this group are not useful outside of the research setting.

# Fetal Lung Maturity

Neonatal Respiratory Distress Syndrome (RDS) is a common disease of preterm infants and infants with delayed maturation, such as those born to poorly controlled diabetic mothers. This disorder is caused by a deficiency of surfactant. Treatment has improved dramatically and requires increased oxygen and mechanical ventilation. Treating the newborn with exogenous surfactant at birth can often ameliorate the symptoms.

The lungs make surfactant in the form of lamellar bodies (LB) inside Type II pneumocytes. These hydrophobic structures are 1-5 microns in diameter15 and contain surface tension reducing phospholipids and three specific proteins, SP-A, B, C, and D.16,17 The LB are excreted by exocytosis, and in the aerated lung, unravel to coat the air surface interface. Production starts as early as 28 weeks gestation, but there is a surge in production at about 36 weeks for most fetuses. The newborn lung contains about 100 times more surfactant per lung volume than the adult lung.

The phospholipid content of LB is mostly lecithin (phosphatidylcholine [PC]), phosphatidylinosital (PI), phosphatidylglycerol (PG), and phosphatidylethanolamine (PE), but little, if any, sphingomyelin (S). Low PC concentrations are present in amniotic fluid up to 36 weeks’ gestation, when production surges. PG production starts at this time in most normal pregnancies.18

Testing for FLM has declined over the past 10 years. Surfactant therapy and clinical adherence to obstetrical guidelines have lessened demand. The clinician uses FLM results to assess whether best infant survival will be achieved in utero or following an early delivery. Knowing that fetal lung is producing adequate surfactant sways the decision toward delivery. The clinician can delay delivery by using tocolytic drugs such as ritodrine, can accelerate fetal surfactant production by administering steroids to the mother and delivering after 3 days, and can enhance labor and early delivery with the use of pitocin.

FLM testing is not indicated in normal pregnancies if the gestational age is accurately known to be at least 36 weeks.19 The best evidence for determining fetal maturation is an early positive pregnancy test at least 36 weeks in the past. Fetal heart tones for 20 weeks or ultrasonographic evidence of a fetal heartbeat for 30 weeks, are also good indicators of a fetus that is old enough to have achieved pulmonary maturity. Also useful is ultrasound dating at 6 to 11 weeks’ gestation that supports a pregnancy of at least 39 weeks, or measurements at 12-20 weeks’ gestation that confirm a pregnancy of at least 39 weeks.

An ideal FLM test would be an imaging test available at the bedside. Such a test does not exist currently. All valid tests require analysis of amniotic fluid. This is best collected by amniocentesis even in the presence of ruptured membranes. The method should be available in most laboratories, not affected by blood or meconium, with results available rapidly at any time. False mature results have more dire medical consequences than do false immature results, because the former may tip the scales toward an unwarranted early delivery decision.

Tests for predicting Fetal Lung Maturity

Available tests for predicting fetal lung maturity are listed in Table 4.

Table 4. Use of fetal lung maturity testing methods (2002)*

| Method | Source | Number of Laboratories a |
| --- | --- | --- |
| Surfactant/albumin ratio (TDx FLM II) | Abbott Laboratories | 462 |
| Phosphatidylglycerol (AmnioStat-FLM) | Irving Scientific | 447 |
| Lecithin/sphingomyelin ratio | Helena Laboratories, and “laboratory developed test” | 138 |
| Phosphatidylglycerol (1 dimensional TLC) | “laboratory developed test” | 92 |
| Phosphatidylglycerol (2 dimensional TLC) | “laboratory developed test” | 18 |
| Lamellar body counts (LBC) | “laboratory developed test” | 59 b |
| Foam Stability | “laboratory developed test” | Fewer than 50 c |
| Fluorescence polarization (NBD-PC), FPol | “laboratory developed test” | 9 |

* Modified from Handbook of Clinical Laboratory Testing during Pregnancy, Gronowski AM, Ed., Humana Press, New York, 2004, page 58.

a Data from reference 20, unless stated otherwise

b Data from reference 21.

c ERA’s estimate

All FLM tests have high (~95%) sensitivity, having immature results in RDS cases. All also suffer from mediocre (~65%) specificity, yielding mature results in most, but not all, cases with adequate fetal pulmonary development. The clinical outcome studies of L/S ratio,22, 23, 24, 25, 26 FPol,22, 27, 28, 29 TDx FLM II,30, 31 and LBC24, 32, 33, 34, 35, 36, 37, 38, 39, 40, 41, 42 have very similar results in clinical outcome studies. The quantitative results of these tests reveal the degree of pulmonary maturation and are therefore more prognostically useful to the clinician than the qualitative tests. The foam stability test43, 44, 45, 46, 47, 48 is no longer available commercially and is used as a “laboratory developed test” by few laboratories. The turn-around time for L/S ratio is much greater than the other tests. Many laboratories have switched from L/S ratio testing to one of the rapid tests. The AmnioStat-FLM49, 50, 51, 52, 53 is a qualitative test offered by over 400 laboratories, but in late 2003, the manufacturer was unable to supply reagents, making this test unavailable for at least 4 months.

Although there are no controlled trials evaluating cost-effectiveness of using an FLM test, there many studies, cited above, on their effectiveness of predicting fetal pulmonary status. Even though use is decreasing, there remain many FLM test requests.

Recommendation: Fetal lung maturity (FLM) testing should be available in hospitals that deliver infants. The FLM test should be available routinely once per day and in emergent settings within an hour of specimen submission. The choice of rapid test depends on patient population: Low risk population: qualitative PG (AmnioStat-FLM), TDx FLM II, LBC, or Foam Stability High risk population: TDx FLM II, F Pol

Recommendation: If a rapid FLM test is available, referral of L/S ratio requests to another laboratory is acceptable practice.

Predictive Value

Because of the high sensitivity and low prevalence of RDS, the predictive value of a mature result is very good, about 98%. Conversely, the poor specificity and low prevalence produces a poor predictive value of an immature result. For example, analysis of 488 cases at the University of Utah from 1988 to 1993 showed that 43 of 135 infants with an immature L/S developed RDS. Thus, the predictive value of an immature L/S in this setting is about 32% (note that while sensitivity and specificity can be applied to different settings, predictive value can not – it depends of the prevalence of RDS). During this same time period, 7 of 353 infants with a mature L/S developed RDS. Thus the predictive value of a mature L/S is 98% in this setting.

The manufacturer of TDx FLM II (Abbott Laboratories) recommends three interpretation categories: immature (≤39 mg/g), intermediate (40-54 mg/g), and mature (≥55 mg/g). Clinical outcome studies indicate that the upper mature limit could be safely lowered.30, 31 Using a limit of Therefore, contrary to the manufacturer’s recommendation, an upper decision limit of ≥45 mg/g should improve specificity to about 85% while maintaining sensitivity at >95%.

Recommendation: use of 45 mg/g as the maturity decision threshold for TDx FLM II reduces the number of false immature results without adversely increasing the number of false mature results.

LBC tests are rapid, but the results differ by instrument.32 LBC maturity thresholds vary dramatically from 19,000 to 50,000/µL and are caused by use of different centrifugation protocols54 and different analyzers.55

Recommendation: laboratories using LBC for FLM should determine there reference values by performing a clinical outcome study comparing their method to a method used in an outcome study using paired amniotic fluid specimens and then adjusting the threshold or transforming the results to agree with the primary method.

Recommendation: laboratories using LBC for FLM should not use centrifugation in order to improve precision.

Blood Contamination

Blood contains a high concentration of phospholipids as compared to amniotic fluid. Therefore, the FLM results of bloody amniotic fluid specimens are altered. The exception is PG.56,57  Even though blood contamination alters the FLM results, it does not produce false mature results.58

Recommendation: bloody amniotic fluid specimens should be tested for FLM. Mature and very immature results are trustworthy, whereas borderline immature results could be falsely low or high.

Meconium Contamination

The presence of heavy meconium contamination (greater than 15 g/dL) interferes with most FLM results.59 Moderate meconium contamination (about 5 g/dL) can produce erroneous L/S ratio values from immature to mature60, 61 and interferes with fluorescence polarization methods (TDx FLM II and FPol),62 but does not cause false mature AmnioStat-FLM PG results.56, 57 LBC results increase by less than 5000/µL with light contamination.33

Recommendation: amniotic fluid specimens contaminated with moderate meconium (greater than 5 g/dL) should not be tested for FLM except by using PG.

Diabetes

Tight glycemic control and new treatment algorithms have significantly reduced the incidence of RDS in the diabetic pregnancy.63, 64 While some reports indicate more RDS cases despite mature L/S ratio results,65 others indicate no additional risk.66, 67 For poorly controlled diabetes, the gestation at which the L/S ratio begins to rise has been reported to be both delayed68 and not delayed18 as compared to non-diabetic pregnancies. Agreement exists in recent studies of well-controlled diabetics, the time of the L/S ratio surge is not affected by diabetes.18, 69

Several TDx FLM II studies have shown that these results are reliable when used in diabetic pregnancies.70, 71, 72

Regardless of degree of diabetic control, the detection of PG is delayed about 1.5 weeks.18, 73, 74 Even though many clinicians rely exclusively on PG for management of diabetic patients, there are no modern studies to support this practice.

There are insufficient outcome studies to evaluate the effect of diabetes on LBC and foam stability.

Recommendation: in diabetic patients, separate reference values are not required for TDx FLM II, FPol, L/S ratio, and PG. There are insufficient studies to evaluate the effect of diabetes on LBC and foam stability test reliability.

Twin pregnancy

RDS is a frequent complication in twin pregnancy and can be discordant, especially prior to 31 weeks.75

Recommendation: If testing for FLM prior to 32 weeks’ gestation, sampling both sacs should be sampled.

References

1.	Martin JA, Hamilton BE, Ventura SJ, Menacker F, Park MM. Births: Final data for 2000. National vital statistics reports; vol 50 no 5. Hyattsville, Maryland: National Center for Health Statistics. 2002.

2.	Miniño AM, Arias E, Kochanek KD, Murphy SL, Smith BL. Deaths: Final data for 2000. National vital statistics reports; vol 50 no 15. Hyattsville, Maryland: National Center for Health Statistics. 2002.

3.	Goldenberg RL, Mercer BM, Iams JD, Moawad AH, Meis PJ, Das A, McNellis D, Miodovnik M, Menard MK, Caritis SN, Thurnau GR, Bottoms SF. The preterm prediction study: patterns of cervicovaginal fetal fibronectin as predictors of spontaneous preterm delivery. National Institute of Child Health and Human Development Maternal-Fetal Medicine Units Network. Am J Obstet Gynecol. 1997 Jul;177(1):8-12.

4.	Joffe GM, Jacques D, Bemis-Heys R, Burton R, Skram B, Shelburne P. Impact of the fetal fibronectin assay on admissions for preterm labor. Am J Obstet Gynecol. 1999 Mar;180(3 Pt 1):581-6.

5.	Iams JD, Casal D, McGregor JA, Goodwin TM, Kreaden US, Lowensohn R, Lockitch G. Fetal fibronectin improves the accuracy of diagnosis of preterm labor. Am J Obstet Gynecol. 1995 Jul;173(1):141-5.

6.	Peaceman AM, Andrews WW, Thorp JM, Cliver SP, Lukes A, Iams JD, Coultrip L, Eriksen N, Holbrook RH, Elliott J, Ingardia C, Pietrantoni M. Fetal fibronectin as a predictor of preterm birth in patients with symptoms: a multicenter trial. Am J Obstet Gynecol. 1997 Jul;177(1):13-8.

7.	Luzzi V, Hankins K, Gronowski AM. Accuracy of the rapid fetal fibronectin TLi system in predicting preterm delivery. Clin Chem. 2003 Mar;49(3):501-2.

8.	Sullivan A, Hueppchen NA, Satin AJ. Cost effectiveness of bedside fetal fibronectin testing varies according to treatment algorithm. J Matern Fetal Med. 2001 Dec;10(6):380-4.

9.	Kiss H, Ahner R, Hohlagschwandtner M, Leitich H, Husslein P. Fetal fibronectin as a predictor of term labor: a literature review. Acta Obstet Gynecol Scand. 2000 Jan;79(1):3-7.

10. Bishop EH. Pelvic scoring for elective induction. Obstet Gynecol. 1964 Aug;24:266-8.

11.	Williams MC, Krammer J, O'Brien WF. The value of the cervical score in predicting successful outcome of labor induction. Obstet Gynecol. 1997 Nov;90(5):784-9.

12.	Hedriana HL, Munro CJ, Eby-Wilkens EM, Lasley BL. Changes in rates of salivary estriol increases before parturition at term. Am J Obstet Gynecol. 2001 Jan;184(2):123-30.

13.	Goffinet F, Maillard F, Fulla Y, Cabrol D. Biochemical markers (without markers of infection) of the risk of preterm delivery. Implications for clinical practice. Eur J Obstet Gynecol Reprod Biol. 2001 Jan;94(1):59-68.

14.	Goldenberg RL, Iams JD, Mercer BM, Meis PJ, Moawad A, Das A, Miodovnik M, Vandorsten PJ, Caritis SN, Thurnau G, Dombrowski MP. The Preterm Prediction Study: toward a multiple-marker test for spontaneous preterm birth. Am J Obstet Gynecol. 2001 Sep;185(3):643-51

15.	Oulton M, Martin TR, Faulkner GT, Stinson D, Johnson JP. Developmental study of a lamellar body fraction isolated from human amniotic fluid. Pediatr Res 1980;14:722-728.

16.	Hawgood S, Clements JA. Pulmonary surfactant and its apoproteins. J Clin Invest 1990;86:1-6.

17.	Persson A, Chang D, Crouch E. Surfactant protein D is a divalent cation-dependent carbohydrate-binding protein. J Biol Chem 1990;26510:5755-5760.

18.	Moore TR. A comparison of amniotic fluid fetal pulmonary phospholipids in normal and diabetic pregnancy. Am J Obstet Gynecol. 2002;186:641-650.

19.	American College of Obstetricians and Gynecologists, Committee on Educational Bulletins: Assessment of Fetal Lung Maturity. ACOG Educational Bulletin No. 230. Washington, DC, American College of Obstetricians and Gynecologists, 1996.

20.	College of American Pathologists: CAP Surveys, Lung Maturity Survey, Set LM-B. Northfield, IL, College of American Pathologists, 2002.

21.	College of American Pathologists. Supplemental questions on lamellar body counts. Surveys 2000;LM-C:4-5.

22.	Ashwood ER, Tait JF, Foerder CA, Franklin RW, Benedetti TJ. Improved fluorescence polarization assay for use in evaluating fetal lung maturity. III. Retrospective clinical evaluation and comparison with the lecithin/sphingomyelin ratio. Clin Chem 1986;32:260-264.

23. Tsai MY, Shultz EK, Williams PP, Bendel R, Butler J, Farb H, Wager G, Knox EG, Julian T, Thompson TR. Assay of disaturated phosphatidylcholine in amniotic fluid as a test of fetal lung maturity: experience with 2000 analyses. Clin Chem. 1987 Sep;33(9):1648-51.

24.	Ashwood ER, Palmer SE, Taylor JS, Pingree SS. Lamellar body counts for rapid fetal lung maturity testing. Obstet Gynecol 1993;81:619-624.

25. Bender TM, Stone LR, Amenta JS. Diagnostic power of lecithin/sphingomyelin ratio and fluorescence polarization assays for respiratory distress syndrome compared by relative operating characteristic curves. Clin Chem. 1994 Apr;40(4):541-5.

26. Wijnberger LD, Huisjes AJ, Voorbij HA, Franx A, Bruinse HW, Mol BW. The accuracy of lamellar body count and lecithin/sphingomyelin ratio in the prediction of neonatal respiratory distress syndrome: a meta-analysis. BJOG. 2001 Jun;108(6):583-8.

27.	Tait JF, Foerder CA, Ashwood ER, Benedetti TJ. Prospective clinical evaluation of an improved fluorescence polarization assay for predicting fetal lung maturity. Clin Chem 1987;33:554-558.

28.	Chen C, Roby PV, Weiss NS, Wilson JA, Benedetti TJ, Tait JF. Clinical evaluation of the NBD-PC fluorescence polarization assay for prediction of fetal lung maturity. Obstet Gynecol 1992;80:688-692.

29.	Ruch AT, Lenke RR, Ashwood ER. Assessment of fetal lung maturity by fluorescence polarization in high-risk pregnancies. J Reprod Med 1993;38:133-136.

30.	Fantz CR, Powell C, Karon B, Parvin CA, Hankins K, Dayal M, Sadovsky Y, Johari V, Apple FS, Gronowski AM. Assessment of the diagnostic accuracy of the TDx-FLM II to predict fetal lung maturity. Clin Chem 2002;48:761-765.

31.	Kesselman EJ, Figueroa R, Garry D, Maulik D. The usefulness of the TDx/TDxFLx fetal lung maturity II assay in the initial evaluation of fetal lung maturity. Am J Obstet Gynecol 2003;188:1220-1222.

32.	Neerhof MG, Dohnal JC, Ashwood ER, Lee IS, Anceschi MM. Lamellar body counts: a consensus on protocol. Obstet Gynecol. 2001 Feb;97(2):318-20.

33.	Dubin SB: Characterization of amniotic fluid lamellar bodies by resistive-pulse counting: Relationship to measures of fetal lung maturity. Clin Chem, 35:612-616, 1989.

34.	Greenspoon JS, Rosen DJ, Roll K, Dubin SB. Evaluation of lamellar body number density as the initial assessment in a fetal lung maturity test cascade. J Reprod Med 1995;40:260-266.

35.	Bowie LJ, Shammo J, Dohnal JC, Farrell E, Vye MV. Lamellar body number density and the prediction of respiratory distress. Am J Clin Pathol 1991;95:781-786.

36.	Dalence CR, Bowie LJ, Dohnal JC, Farrell EE, Neerhof MG. Amniotic fluid lamellar body count: a rapid and reliable fetal lung maturity test. Obstet Gynecol 1995;86:235-239.

37.	Fakhoury G, Daikoku NH, Benser J, Dubin NH. Lamellar body concentrations and the prediction of fetal pulmonary maturity. Am J Obstet Gynecol 1994;170:72-76.

38.	Lee IS, Cho YK, Kim A, Min WK, Kim KS, Mok JE. Lamellar body count in amniotic fluid as a rapid screening test for fetal lung maturity. J Perinatol 1996;16:176-180.

39.	Pearlman ES, Baiocchi JM, Lease JA, Gilbert J, Cooper JH. Utility of a rapid lamellar body count in the assessment of fetal maturity. Am J Clin Pathol 1991;95:778-780.

40.	Dilena BA, Ku F, Doyle I, Whiting MJ. Six alternative methods to the lecithin/sphingomyelin ratio in amniotic fluid for assessing fetal lung maturity. Ann Clin Biochem. 1997;34:106-108.

41.	Neerhof MG, Haney EI, Silver RK, Ashwood ER, Lee IS, Piazze JJ. Lamellar body counts compared with traditional phospholipid analysis as an assay for evaluating fetal lung maturity. Obstet Gynecol 2001;97:305-309.

42.	Beinlich A, Fischass C, Kaufmann M, Schlosser R, Dericks-Tan JS. Lamellar body counts in amniotic fluid for prediction of fetal lung maturity. Arch Gynecol Obstet 1999;262:173-180.

43.	Sher G, Statland BE, Freer DE, Kraybill EN. Assessing fetal lung maturation by the foam stability index test. Obstet Gynecol 1978;52:673-677.

44.	Sher G, Statland BE, Freer DE. Clinical evaluation of the quantitative foam stability index test. Obstet Gynecol 1980;55:617-620.

45.	Sher G, Statland BE, Knutzen VK. Diagnostic reliability of the lecithin/sphingomyelin ratio assay and the quantitative foam stability index test: results of a comparative study. J Reprod Med 1982;27:51-55.

46.	Sher G, Statland BE.  Assessment of fetal pulmonary maturity by the Lumadex Foam Stability Index Test. Obstet Gynecol 1983;61:444-449.

47.	Lockitch G, Wittmann BK, Snow BE, Campbell DJ. Prediction of fetal lung maturity by use of the Lumadex-FSI test. Clin Chem 1986;32:361-363.

48.	Lipshitz J, Whybrew WD, Anderson GD. Comparison of the Lumadex-foam stability index test, lecithin: sphingomyelin ratio, and simple shake test for fetal lung maturity. Obstet Gynecol 1984;63:349-354.

49.	Halvorsen PR, Gross TL. Laboratory and clinical evaluation of a rapid slide agglutination test for phosphatidylglycerol. Am J Obstet Gynecol 1985;151:1061-1066.

50.	Weinbaum PJ, Richardson D, Schwartz JS, Gabbe SG. Amniostat FLM: a new technique for detection of phosphatidylglycerol in amniotic fluid. Am J Perinatol 1985;2:88-92.

51.	Lockitch G, Wittmann BK, Mura SM, Hawkley LC. Evaluation of the Amniostat-FLM assay for assessment of fetal lung maturity. Clin Chem 1984;30:1233-1237.

52.	Garite TJ, Yabusaki KK, Moberg LJ, Symons JL, White T, Itano M, Freeman RK. A new rapid slide agglutination test for amniotic fluid phosphatidylglycerol: laboratory and clinical correlation. Am J Obstet Gynecol 1983;147:681-686.

53.	Towers CV, Garite TJ. Uselessness of the phosphatidylglycerol assay for prediction of lung maturity [reply].  Am J Obstet Gynecol 1989;161:1419.

54.	Dubin SB. Assessment of fetal lung maturity. Practice parameter. Am J Clin Pathol 1998;110:723-732.

55.	Szallasi A, Gronowski AM, Eby CS. Lamellar body count in amniotic fluid: a comparative study of four different hematology analyzers. Clin Chem 2003;49:994-997.

56.	Farquharson J, Jamieson EC, Berry E, Buchanan R, Logan RW. Assessment of the AmnioStat-FLM immunoagglutination test for phosphatidylglycerol in amniotic fluid. Clin Chim Acta 1986;156:271-277.

57.	Benoit J, Merrill S, Rundell C, Meeker CI. Amniostat-FLM: an initial clinical trial with both vaginal pool and amniocentesis samples. Am J Obstet Gynecol 1986;154:65-68.

58.	Grenache DG, Parvin CA, Gronowski AM. Preanalytical factors that influence the Abbott TDx Fetal Lung Maturity II Assay. Clin Chem 2003;49:935-939.

59.	Lenke R, Ashwood E. Lung Maturity Testing. In: Current Therapy in Obstetrics and Gynecology, 5th ed. Quilligan EJ, Zuspan FP, eds. Philadelphia, WB Saunders Co, 2000, page 419.

60.	Longo SA, Towers CV, Strauss A, Asrat T, Freeman RK. Meconium has no lecithin or sphingomyelin but affects the lecithin/sphingomyelin ratio. Am J Obstet Gynecol 1998;179:1640-1642.

61. Weitzner JS, Strassner HT, Rawlins RG, Mack SR, Anderson RA Jr. Objective assessment of meconium content of amniotic fluid. Obstet Gynecol. 1990 Dec;76(6):1143-4.

62.	Tait JF, Franklin RW, Simpson JB, Ashwood ER. Improved fluorescence polarization assay for use in evaluating fetal lung maturity: I. Development of the assay procedure. Clin Chem 1986;32:248-254.

63.	Robert MF, Neff RK, Hubbell JP, Taeusch HW, Avery ME. Association between maternal diabetes and the respiratory-distress syndrome in the newborn. N Engl J Med 1976;294:357-360.

64.	Mimouni F, Miodovnik M, Whitsett JA, Holroyde JC, Siddiqi TA, Tsang RC. Respiratory distress syndrome in infants of diabetic mothers in the 1980s: no direct adverse effect of maternal diabetes with modern management. Obstet Gynecol 1987;69:191-195.

65.	Cruz AC, Buhi WC, Birk SA, Spellacy WN. Respiratory distress syndrome with mature lecithin/sphingomyelin ratios: Diabetes mellitus and low Apgar scores. Am J Obstet Gynecol 1978;126:78-82.

66.	Gabbe SG, Lowensohn RI, Mestman JH, Freeman RK, Goebelsmann U. Lecithin/sphingomyelin ratio in pregnancies complicated by diabetes mellitus. Am J Obstet Gynecol 1977;128:757-760.

67.	Tabsh KM, Brinkman CR 3rd, Bashore RA. Lecithin:sphingomyelin ratio in pregnancies complicated by insulin-dependent diabetes mellitus. Obstet Gynecol 1982;59:353-358.

68.	Piper JM, Langer O. Does maternal diabetes delay fetal pulmonary maturity?  Am J Obstet Gynecol 1993;168:783 786.

69.	Berkowitz K, Reyes C, Saadat P, Kjos SL. Fetal lung maturation. Comparison of biochemical indices in gestational diabetic and nondiabetic pregnancies. J Reprod Med 1997;42:793-800.

70.	Del Valle GO, Adair CD, Ramos EE, Gaudier FL, Sanchez-Ramos L, Morales R. Interpretation of the TDx-FLM fluorescence polarization assay in pregnancies complicated by diabetes mellitus. Am J Perinatol 1997;14:241-244.

71.	Livingston EG, Herbert WN, Hage ML, Chapman JF, Stubbs TM. Use of the TDx-FLM assay in evaluating fetal lung maturity in an insulin-dependent diabetic population. The Diabetes and Fetal Maturity Study Group. Obstet Gynecol 1995;86:826-829.

72.	Tanasijevic MJ, Winkelman JW, Wybenga DR, Richardson DK, Greene MF. Prediction of fetal lung maturity in infants of diabetic mothers using the FLM S/A and disaturated phospatidylcholine tests. Am J Clin Pathol 1996;105:17-22.

73.	Tsai MY, Shultz EK, Nelson JA. Amniotic fluid phosphatidylglycerol in diabetic and control pregnant patients at different gestational lengths. Am J Obstet Gynecol 1984;149:388-392.

74.	Cunningham MD, McKean HE, Gillispie DH, Greene JW: Improved prediction of fetal lung maturity in diabetic pregnancies: A comparison of chromatographic methods. Am J Obstet Gynecol 1982;142:197-204.

75.	Whitworth NS, Magann EF, Morrison JC. Evaluation of fetal lung maturity in diamniotic twins. Am J Obstet Gynecol 1999;180:1438-1441.