NACB Laboratory Medicine Practice Guidelines

Evidence-Based Practice for POCT

Renal Function Testing

Committee:

William Clarke, Ph.D. (Johns Hopkins Medical Institutions)

Stephen Frost, Ph.D. (The Princess Royal Hospital, Sussex)

Edward Kraus, M.D. (Johns Hopkins Medical Institutions)

Maria Ferris, M.D. (University of North Carolina)

Bernard Jaar, M.D. (Johns Hopkins Medical Institutions)

Jean Wu, M.D. (Johns Hopkins Medical Institutions)

Sandra Humbertson, MT(ASCP) (Johns Hopkins Hospital)

Karen Dyer, MT(ASCP), DLM (Johns Hopkins Hospital)

Eric Schmith, MT(ASCP) (Johns Hopkins Hospital)

Katie Gallagher, MT(ASCP) (Johns Hopkins Hospital)

Introduction

Dipstick urinalysis (DUA) is one of the cornerstones of point-of-care testing (POCT) – relatively inexpensive, robust, easy to perform, painless to the patient, and available worldwide.  Almost since the inception of the Clinistix (Ames Co, Elkhardt, IN) in 1956, DUA has been a staple for community health and preoperative screening, and in the work-up of urinary tract and systemic diseases. However, the real clinical utility of DUA is more often assumed than proven.  In addition, recent advances in technology have introduced the ability to perform more advanced testing (e.g. quantitation of blood urea nitrogen (BUN), creatinine) at the patient bedside.  The guidelines will focus on the use of POCT for renal function or urinalysis in a variety of clinical setting and patient populations.  Guidelines in other sections will address urine glucose, ketones or microalbumin (diabetes) and urine dipstick leukocyte esterase and nitrite (infectious disease).

Does measurement of BUN and/or creatinine at the point of care (versus the core lab) result in quicker time to treatment, decreased wait time, or decreased length of stay for inpatient, emergency department (ED), dialysis, cardiovascular diagnostics laboratory (CVDL), or chemotherapy patients?

We recommend against routinely providing point of care testing for creatinine or BUN in the ED; we found fair evidence that POCT is ineffective in this environment.. (Recommendation type D, Grade of evidence: II-3).  However, we recommend that clinicians routinely provide POCT in the CVDL for creatinine and BUN; we found fair evidence that POCT in this environment improves important patient outcomes and that the benefits outweigh any potential harm. (Recommendation type B, Grade of evidence: II-3).

Table 1. Renal Question 1 Literature Search – October 29, 2003

Databases Searched:

Medline OVID (1966 – October Week 4, 2003)

Search Criteria:

# 		Search History							Results

1		point-of-care testing						465

2		point of care testing						1343

3		ancillary testing						318

4		satellite testing						213

5		bedside testing							1119

6		near-patient testing						107

7		near patient testing						542

8		remote testing							545

9		Physician’s Office Laboratories				91

10		1 OR 2 OR 3 OR 4 OR 5 OR 6 OR 7 OR 8 OR 9		3722

11		BUN								5196

12		blood urea nitrogen						5820

13		urea								57069

14		creatinine							38113

15		10 AND (11 OR 12 OR 13 OR 14)				77

We selected 13 papers (1-13) for full-text review (from 77 abstracts), and from these 13 papers, 3 were accepted for grading with respect to the clinical question.  The first 2 papers presented studies regarding the use of POCT in the emergency department.  Tsai et al (13) conducted a cost-effectiveness study to determine time and labor costs for POCT versus central laboratory testing in an ED setting.  The study was conducted over a 4-week period at a teaching hospital in Philadelphia, Pennsylvania and included a cohort of 210 patients presenting to the ED who were triaged at the urgent or emergent level and had blood drawn for a Chem-7 panel (which includes BUN and creatinine).  It should be noted that the POC device was only able to measure BUN.  The main outcome measures included test turnaround time (TAT) and cost per test including labor for POCT versus central lab testing.  This study found and average TAT of 8 minutes for POCT compared to 59 minutes for central lab testing.  When examining cost - depending on testing personnel - the cost for POCT ranged from $14.37 to $16.67, while the cost for central lab testing was $11.14.  The authors stated that the cost per test would decrease based on increased testing volume and that the study did not take into account any cost savings due to decreased length of stay (LOS) and increased patient throughput for the ED.  Based on these statements, their opinion was that POCT in the ED could be a cost-effective solution.

However, a second study by Parvin et al (7) using a similar device to the previous study examined the relationship of LOS to implementation of POCT in the emergency department.  This study defined LOS as the length of time between initial patient interview and discharge; the study examined patient LOS distribution during a 5-week experimental period after implementation of POCT and compared it to the distribution during a 5-week control period prior to implementation and a 3-week control period after POCT use was removed.  During the study period, there were approximately 15,000 ED patient visits of which 4985 patients had at least one Na, K, Cl, BUN, or glucose test ordered from the ED (2067 experimental and 2918 control).  No decrease in LOS was observed during the study period; median LOS during the experimental period was 209 minutes compared to 201 minutes during the control periods.  The authors further analyzed the data by stratification of patients based on presenting condition, discharge/admit status, or presence/absence of other central lab tests, but these results did not reveal a decrease in patient LOS for any patient subgroup during the experimental period.  Based on the increase in cost per test and lack of evidence that LOS is improved or ED throughput increased, we do not see any evidence that POCT for renal function effectively improves patient outcomes.

The third graded paper dealt with utilization of POCT in the CVDL to reduce patient wait times.  Nichols et al (4) conducted a study in 4 phases to establish the impact of implementation of POCT for coagulation and renal function testing on the amount of time between when a patient’s procedure was schedule and when it actually occurred.  Phase 1 examined overall patient management and workflow in the CVDL.  In phase 2, POCT was implemented, but central laboratory results were utilized for patient management.  In phase 3, therapeutic decisions were made based on POCT results and in phase 4, the authors worked to optimize workflow around the availability of POCT.  In phase 1, the authors demonstrated that 44% of the central laboratory results were not available prior to the scheduled procedure time (n=135).  Phase 2 results showed that the mean waiting time for patients who needed renal testing was 188 + 54 minutes (n=14).  For patients needing renal function testing, phases 3 and 4 were combined, and utilization of POCT decreased the mean patient wait time to 141 + 52 minutes (n=18, p=0.02).  The evidence in this paper demonstrates that implementation of POCT in the CVDL led to a statistically significant decrease in wait times for patients needing renal function testing.

Does screening for renal insufficiency by urine pH dipstick at the point of care result in earlier diagnosis of renal insufficiency and fewer adverse events or decreased length of stay for patients compared to screening by core lab urine pH testing?

We are unable to recommend for or against routine use of POCT using urine pH dipstick to screen for renal insufficiency.  (Recommendation Type I, Grade of evidence: N/A)

Table 2. Renal Question 2 Literature Search – October 29, 2003

Databases Searched:

Medline OVID (1966 – October Week 4, 2003)

Search Criteria:

#		Search History							Results

1		urine								113844

2		pH								3675477

3		dipstick							783

4		1 AND 2 AND 3						310

While we were able to select three papers (14-16) for full-text review (from 310 abstracts), we were unable to grade any of them based on the fact that either they did not specifically address the clinical question, or they did not contain an evaluation of patient outcomes.

Does screening for metabolic disorders using urine dipstick pH at the point of care result in earlier diagnosis of metabolic disorders, along with fewer adverse events and more rapid time to treatment for patients in outpatient clinics or the NICU/nursery when compared to screening by core lab urine pH testing?

We are unable to recommend for or against routine use of urine dipstick pH testing for metabolic disorder screening at the point of care.  (Recommendation type I, Grade of evidence: N/A)

Table 3. Renal Question 3 Literature Search – October 29, 2003

Databases Searched:

Medline OVID (1966 – October Week 4, 2003)

Search Criteria:

#		Search History							Results

1		urine								113844

2		pH								3675477

3		dipstick							783

4		1 AND 2 AND 3						310

Six papers (16-21) were selected for full-text review (from 310 abstracts), but we were unable to grade the evidence with respect to patient outcomes because they either did not specifically address the clinical question, or they did not contain evidence relating to patient outcomes.

Does measurement of urine specific gravity via dipstick testing at the point of care to evaluate renal function result in decreased patient wait time, quicker time to treatment, fewer adverse events, or decreased length of stay for inpatient, ED, or outpatient clinic patients when compared to measurement of urine specific gravity in the core lab?

We are unable to recommend for or against the routine use of urine dipsticks to measure urine specific gravity at the point of care for evaluation of renal function.  (Recommendation Type I, Grade of evidence: N/A).

Table 4. Renal Question 4 Literature Search – October 29, 2003

Databases Searched:

Medline OVID (1966 – October Week 4, 2003)

Search Criteria:

#		Search History							Results

1		urine								113844

2		dipstick							783

3		specific gravity						1663

4		1 AND 2 AND 3						21

Of six papers (22-27) that were selected for full-text review (from 21 abstracts), none of them were graded with respect to strength of evidence, because they either did not specifically address the clinical question, or they did not contain evidence relating to patient outcomes.

Does assessment of specimen integrity by measurement of urine specific gravity by dipstick testing at the point of care result in fewer repeat patient visits due to invalid urine specimens in the ED, physician’s office lab, or workplace drug testing setting?

We cannot recommend for or against the routine use of urine specific gravity by dipstick testing for assessment of urine specimen integrity at the point of care.  (Recommendation type I, Grade of evidence: N/A).

Table 5. Renal Question 5 Literature Search – October 29, 2003

Databases Searched:

Medline OVID (1966 – October Week 4, 2003)

Search Criteria:

#		Search History							Results

1		urine								113844

2		specific gravity						1663

3		specimen integrity						244

4		1 AND 2 AND 3						2

Only one paper (28) was selected from 2 abstracts for full-text review, and it was not graded based on the fact that it did not discuss evidence relating to patient outcomes.

Does determination of hydration status by measurement of plasma, serum, whole blood, or urine osmolality at the point of care result in decreased patient wait time, quicker time to treatment, decreased length of stay, or fewer adverse events for inpatient, ED, or outpatient clinic patients compared to measurement of osmolality in the core lab?

We are unable to recommend for or against routine point of care measurement of osmolality – blood or urine – for determination of patient hydration status.  (Recommendation type I, Grade of evidence: N/A).

Table 6. Renal Question 6 Literature Search – October 29, 2003

Databases Searched:

Medline OVID (1966 – October Week 4, 2003)

Search Criteria:

# 		Search History							Results

1		point-of-care testing						465

2		point of care testing						1343

3		ancillary testing						318

4		satellite testing						213

5		bedside testing							1119

6		near-patient testing						107

7		near patient testing						542

8		remote testing							545

9		Physician’s Office Laboratories				91

10		1 OR 2 OR 3 OR 4 OR 5 OR 6 OR 7 OR 8 OR 9		3722

11		plasma								359288

12		serum								382119

13		whole blood							46595

14		urine								113844

15		11 OR 12 OR 13 OR 14					796369

16		osmolality							30001

17		10 AND 15 AND 16						6

While three papers (22, 29, 30) were selected for full-text review (from 6 abstracts), we were unable to grade any of the papers because they either did not specifically address the clinical question, or they did not contain evidence pertaining to patient outcomes.

Does screening for proteinuria using urine dipstick testing at the point of care to evaluate renal function result in decreased wait times, reduced time to treatment, fewer adverse events, and decreased length of stay for inpatient, ED, or outpatient clinic patients when compared to urine protein screening using a core laboratory method?

We recommend against routinely screening for proteinuria using urine dipstick testing at the point of care; we found fair evidence  that POCT screening in this environment is ineffective for improving patient outcomes. (Recommendation type D, Grade of evidence: II-3).

Table 7. Renal Question 7 Literature Search – October 29, 2003

Databases Searched:

Medline OVID (1966 – October Week 4, 2003)

Search Criteria:

#		Search History							Results

1		proteinuria							16953

2		urine protein							32098

3		dipstick							783

4		3 AND (1 OR 2)						260

We selected 32 papers (14, 20, 31-60) for full-text review (from 260 abstracts); of these 32 papers, 6 were suitable for grading with respect to the clinical question.  The first study by Hermansen et al (14) was performed to evaluate the benefits and costs of routine admission dipstick urinalyses.  This study followed 954 pediatric admissions at the authors’ institution.  Dipstick urinalysis was performed on all admissions, and the results were reviewed between 12 and 36 hours post-admission for the presence of glucosuria, hematuria, and proteinuria.  If an abnormality was found, the chart was reviewed periodically until the abnormality was classified with respect to the clinical diagnosis.  After the patient was discharged, the chart was reviewed to determine the costs incurred as a result of the screening effort – no attempt was made to evaluate the effect on LOS.  The authors found that the presence of abnormalities and false positive or negative results were comparable to those of non-hospitalized children.  Their conclusions pointed to the difficulty in justifying a routine screening dipstick urinalysis on every pediatric hospital admission.  A separate study by Shaw et al (53) compared dipstick urinalysis to microscopic examination for diagnosis of urine abnormalities.  The results of urinalyses on 1,839 patient samples were evaluated and yielded at 16% false negative rate for dipstick 1+ proteinuria (with trace blood) that improved to 13 % by lowering to trace protein, and improved to 3.3% when using trace protein and adding leukocyte esterase to the dipstick analysis.  The study found the test strips to have a sensitivity of 62-70% and specificity of 71-79% for detection of abnormal urine sediment.

Two of the studies focused on comparison of dipstick urinalysis for proteinuria with urine protein/creatinine ratio (P/Cr) analysis performed in the central lab.  Ralston et al (54) examined screening for proteinuria in a rheumatology clinic setting.  In this study, measurements of protein/creatinine ration in ‘spot’ or random urine samples were compared with central lab testing of 24-hour quantitative proteinuria and dipstick urinalysis in 104 samples from 90 patients presenting consecutively to a rheumatology unit.  Significant proteinuria in the study was defined as >300 mg/24 h by core laboratory methods.  Compared to the central laboratory method, the false positive rate (positive dipstick results at <300 mg/24 h) was 100% for trace results (n = 15), 76% for 1+ results (n = 46), 38% for 2+ results (n = 21), 15% for 3+ results (n = 15), and 0% for 4+ results (n = 7).  Setting the dipstick positive result at 1+ yielded a sensitivity of 100%, but poor specificity due to the high rate of false negatives in the 1+ to 3+ range (48%).  In comparison, the P/Cr ratio was able to achieve both specificity and sensitivity of 97% according to the authors.  The second study, by Abitbol et al (20), investigates the quantitation of proteinuria with urinary P/Cr ratios compared to random testing with dipsticks in nephritic children.  The investigation included 64 children (45 male) with nephritic syndrome that provided 145 timed, 24-hour urine specimens and 150 random urine specimens that were tested by dipstick urinalysis, as well as central laboratory determination of urine P/Cr.  Nephrotic-range proteinuria was defined as > 1.0 g/m2/day.  Positive results (for nephritic proteinuria) were designated as a ratio of >1.0 for P/Cr, or 3+ and 4+ for dipstick urinalysis.  Dipstick urinalysis for proteinuria produced a sensitivity of 70%, specificity of 68 %, and positive predictive value (PPV) and negative predictive value (NPV) of 89 % and 60%, respectively.  Using random P/Cr ratios, a sensitivity of 95%, a specificity of 93%, as well as a PPV and NPV of 93% and 100%, respectively were obtained.  The authors point out the high negative predictability for urine P/Cr ratio in contrast to the low negative predictability for dipstick urinalysis and assert the random P/Cr ratio to be a better assessment tool for proteinuria in children with nephrosis.

Two of the more recent graded studies presented points of view that screening for dipstick proteinuria exhibits potential to contribute to improved patient outcomes.  Craig et al (43) conducted a feasibility study of early detection and treatment of renal disease by mass screening using systematic review and meta-analysis, as well as an evaluation of cost effectiveness.  In the study, the authors assert that if screening is implemented solely on the basis of proteinuria, raised serum creatinine, or raised blood pressure, then adverse effects of additional investigations would be trivial.  However, based on their systematic review, it was concluded that the poor specificity of dipsticks would result in a high proportion of the population being recalled for more tests before being declared false positives.  The authors state that if screening results in early treatment with ACE inhibitors, then it would be possible that 340 fewer people would develop end-stage renal disease (ESRD) for every 10,000 treated.  Based on their assumptions, the study predicts that a dipstick screening program (coupled with early intervention) for man and women aged 50 years and older would prevent  205 cases of ESRD and would result in a net cost savings for the healthcare system despite increased costs incurred by widespread screening.  Agarwal et al (39) pose the question as to whether dipstick urinalysis for proteinuria can be used to guide hypertension management.  In this study, 332 patients (all male) attending the renal clinic at a VA hospital had urine protein and creatinine levels measured, as well as routine dipstick urinalysis.  The investigators were interested in patients with proteinuria greater than 1g/d or greater (corresponds to P/Cr ratio of 1 or greater), because practice guidelines called for lower blood pressure targets in these patients.  The authors found that when comparing dipstick urinalysis versus a P/Cr ratio, a dipstick result of 4 gives a 92% chance of having a P/Cr ratio of 1 or greater.  Conversely, when the urine dipstick is free of protein, proteinuria with a P/Cr ratio of greater than 1 can be ruled out.  Lastly, the authors demonstrated that receiver operating characteristic (ROC) analysis of protein dipsticks with a cutoff value of 3 gives the best combination of sensitivity and specificity (96% and 87%, respectively) in predicting a P/Cr ratio of 1 or greater.  While the above studies demonstrate promise for the utilization of dipstick proteinuria analysis, they offer little direct evidence for the improvement of patient outcomes.  Based on the studies that were graded, we do not see any evidence that supports improved patient outcomes based on screening for proteinuria using dipstick urinalysis.

Does detection of glomerular dysfunction by evaluation of hematuria using dipstick testing at the point of care result in decreased wait times, reduced time to treatment, fewer adverse events, and decreased length of stay for inpatient, ED, or outpatient clinic patients when compared to evaluation of hematuria using core lab urinalysis?

We are unable to recommend for or against dipstick testing for hematuria to evaluate the extent of glomerular dysfunction at the point of care.  (Recommendation Type I, Grade of evidence: N/A).

Table 8. Renal Question 8 Literature Search – October 29, 2003

Databases Searched:

Medline OVID (1966 – October Week 4, 2003)

Search Criteria:

#		Search History							Results

1		urine								113844

2		hemoglobin							60279

3		blood								1319048

4		dipstick							783

5		1 AND 4 AND (2 OR 3)					215

Sixteen papers (27, 48, 53, 61-73) were selected for full-text analysis (from 215 abstracts), but we were unable to grade any of those papers because they either did not specifically address the clinical question, or they did not contain evidence pertaining to patient outcomes.

Does analysis of urine or serum electrolytes at the point of care result in decreased wait times, reduced time to treatment, fewer adverse events, and decreased length of stay for inpatient, ED, or outpatient clinic patients when compared to analysis of electrolytes using the core laboratory?

We cannot recommend for or against measurement of urine or serum electrolytes at the point of care.  (Recommendation type I, Grade of evidence: N/A).

Table 9. Renal Question 9 Literature Search – October 29, 2003

Databases Searched:

Medline OVID (1966 – October Week 4, 2003)

Search Criteria:

#		Search History							Results

1		point-of-care testing						465

2		point of care testing						1343

3		ancillary testing						318

4		satellite testing						213

5		bedside testing							1119

6		near-patient testing						107

7		near patient testing						542

8		remote testing							545

9		Physician’s Office Laboratories				91

10		1 OR 2 OR 3 OR 4 OR 5 OR 6 OR 7 OR 8 OR 9		3722

11		plasma								359288

12		serum								382119

13		whole blood							46595

14		urine								113844

15		11 OR 12 OR 13 OR 14					796369

16		electrolytes							164523

17		10 AND 15 AND 16						20

While we were able to select 7 papers (1, 2, 8, 28, 74-76) for full-text analysis (from 20 abstracts), we were not able to grade any of those papers because they either did not specifically address the clinical question, or they did not contain evidence pertaining to patient outcomes.

Does evaluation for pregnancy-induced hypertension or pre-eclampsia using urine protein dipstick testing at the point of care result in decreased wait times, reduced time to treatment, fewer adverse events, and decreased length of stay for ED, outpatient clinic, or labor and delivery patients when compared to urine protein measurement using core laboratory methods?

We recommend against routine use of urine protein dipstick testing at the point of care for antenatal evaluation of hypertension or pre-eclampsia; we found fair evidence that protein dipstick testing in this environment is largely ineffective.  (Recommendation Type D, Grade of evidence: II-3).

Table 10. Renal Question 10 Literature Search – October 29, 2003

Databases Searched:

Medline OVID (1966 – October Week 4, 2003)

Search Criteria:

#		Search History							Results

1		proteinuria							16953

2		urine protein							32098

3		dipstick							783

4		3 AND (1 OR 2)						260

We selected 17 articles (16, 44, 45, 49, 56, 59, 77-87) for full-text review (from 260 abstracts), and from these 17 articles, 2 were accepted for grading with respect to the clinical question.  In a 2001 study, Waugh et al (80) examined the accuracy of urine dipsticks for protein measurement in hypertensive pregnancies.  In this study, 24-hour urine specimens were collected from 197 consecutive pregnant women who were at risk for hypertensive pregnancy.  Hypertension was defined as a sustained systolic blood pressure of greater than 140 mm Hg, a diastolic blood pressure of greater than 90 mm Hg on two occasions, or a diastolic pressure of greater than 110 mm Hg on a single occasion.  The urine specimens were analyzed by dipstick urinalysis and two biochemical assays, the Benzethonium Chloride assay and the Bradford assay.  A positive test for proteinuria was defined as a result of 1+ or greater for dipstick urinalysis or a 24-h urinary protein of 0.3g/24h for both biochemical assays.  A second analysis was performed for both biochemical assays using a cut-off of 0.3 mg/mL based on the fact that the trace/1+ threshold for detection of proteinuria in dipstick methodology is set at a protein concentration of 0.3 mg/mL.  Using the gold standard definition (0.3 g/24 h) for biochemical assays, the prevalence of proteinuria according to dipstick urinalysis (1+) was 16.2%, compared to a prevalence of 70.1% detected with the Benzethonium Chloride method and 24.9% with the Bradford assay.  In comparison to the Benzethonium method, the dipstick analysis yielded a PPV of 96.9% and an NPV of 22.5%; using the Bradford assay as the reference method, dipstick urinalysis gave a PPV of 87.5% and an NPV of 87.3%.  Changing the gold standard definition to 0.3 mg/mL for the biochemical assays did not significantly affect the PPV, but did show some improvement for the NPV (increased to 53.9% and 92.1 for the Benzethonium and Bradford assays respectively).  It should be noted that both the Bradford assay and urine dipstick methodology are particularly sensitive to albumin and transferrin, while the Benzethonium Chloride assay is sensitive to these proteins and many others (the authors demonstrate this using qualitative gel electrophoresis).  Based on this information, the authors assert that Benzethonium Chloride is the preferred gold standard for biochemical assays, and that in comparison to this standard, urine dipsticks produce far too many false negative results in hypertensive pregnant women to be useful – even when employing a similar concentration cut-off rather than the traditional proteinuria definition of 0.3g/24h.

A more recent study by Murray et al (85) examines whether routine urinalysis in the antenatal period facilitates a diagnosis of pre-eclampsia.  This study was conducted as a prospective observational study, where 1000 women were enrolled at their first antenatal visit; 913 completed the study.  At the first antenatal visit, a urine sample was collected for dipstick urinalysis and central laboratory testing (urine dipsticks were read using a Bayer Clinitek 50).  Of the 913 enrollees, 11 did not have dipstick testing performed at their first visit, 35 women demonstrated dipstick proteinuria (1+), and 867 did not exhibit dipstick proteinuria on the first visit.  Out of the 867 patients without dipstick proteinuria, only 338 women developed proteinuria at some time during their pregnancy.  Statistically, there were no significant differences in the proportion of women with and without dipstick proteinuria on their first visit that developed hypertension during pregnancy.  The authors conclude that while “at-risk” women may benefit from routine dipstick urinalysis for proteinuria, low-risk women do not benefit from routine dipstick proteinuria screening.  Based on the above studies, we do not see any evidence that routine screening for proteinuria by dipstick urinalysis leads to improved patient outcomes.

Does the use of urine dipstick pH testing at the point of care to predict renal stone recurrence result in decreased wait times, reduced time to treatment, fewer adverse events, and decreased length of stay for inpatient, ED, or outpatient clinic patients compared to core lab urine pH testing?

We are not able to recommend for or against routine use of urine dipstick pH testing at the point of care to predict renal stone recurrence.  (Recommendation type I, Grade of evidence: N/A).

Table 11. Renal Question 11 Literature Search – October 29, 2003

Databases Searched:

Medline OVID (1966 – October Week 4, 2003)

Search Criteria:

#		Search History							Results

1		urine								113844

2		pH								3675477

3		dipstick							783

4		1 AND 2 AND 3						310

Of the 4 papers (25, 57, 88, 89) that were selected for full-text review (from 310 abstracts), none were able to be graded because they either did not specifically address the clinical question, or they did not contain evidence pertaining to patient outcomes.

Does dipstick hematuria testing at the point of care to detect intra-abdominal trauma result in decreased wait times, reduced time to treatment, fewer adverse events, and decreased length of stay for ED patients compared to evaluation of hematuria using core lab urinalysis?

We are unable to recommend for or against dipstick hematuria testing at the point of care to detect intra-abdominal trauma.  (Recommendation type I, Grade of evidence: N/A).

Table 12. Renal Question 12 Literature Search – October 29, 2003

Databases Searched:

Medline OVID (1966 – October Week 4, 2003)

Search Criteria:

#		Search History							Results

1		urine								113844

2		hemoglobin							60279

3		blood								1319048

4		dipstick							783

5		1 AND 4 AND (2 OR 3)					215

We were able to select 17 papers (63-65, 67, 90-102) for full-text review, but of these papers none were graded because they either did not specifically address the clinical question, or they did not contain evidence pertaining to patient outcomes.

Does measurement of lactate at the point of care to assess or correct lactate buffer replacement in hemodialysis patients result in decreased wait times, reduced time to treatment, fewer adverse events, and decreased length of stay?

We cannot recommend for or against measurement of lactate at the point of care to assess or correct lactate buffer replacement in hemodialysis patients.  (Recommendation type I, Grade of evidence: N/A).

Table 13. Renal Question 13 Literature Search – October 29, 2003

Databases Searched:

Medline OVID (1966 – October Week 4, 2003)

Search Criteria:

#		Search History							Results

1		point-of-care testing						465

2		point of care testing						1343

3		ancillary testing						318

4		satellite testing						213

5		bedside testing							1119

6		near-patient testing						107

7		near patient testing						542

8		remote testing							545

9		Physician’s Office Laboratories				91

10		1 OR 2 OR 3 OR 4 OR 5 OR 6 OR 7 OR 8 OR 9		3722

11		plasma								359288

12		serum								382119

13		whole blood							46595

14		11 OR 12 OR 13						727605

15		lactate								52114

16		10 AND 14 AND 15						9

We pulled 3 papers (100-102) for full text review, but none of the papers were graded because they either did not specifically address the clinical question, or they did not contain evidence pertaining to patient outcomes.

Does detection of myoglobinuria using urine dipstick testing at the point of care as an indicator for possible renal complications of muscle injury result in decreased wait times, reduced time to treatment, fewer adverse events, and decreased length of stay for inpatient, ED, and outpatient clinic patients when compared to evaluation of myoglobinuria using core lab urinalysis?

There is not sufficient evidence to recommend for or against urine dipstick testing for myoglobinuria at the point of care as an indicator for possible renal complications of muscle injury.  (Recommendation type I, Grade of evidence: N/A).

Table 14. Renal Question 14 Literature Search – October 29, 2003

Databases Searched:

Medline OVID (1966 – October Week 4, 2003)

Search Criteria:

#		Search History							Results

1		urine								113844

2		dipsticks							783

3		myoglobin							5515

4		1 AND 2 AND 3						7

Four papers (103-106) were selected for full-text review (from 7 abstracts), however, none of these papers were graded because they either did not specifically address the clinical question, or they did not contain evidence pertaining to patient outcomes.

Does measurement of microalbuminuria using dipstick testing at the point of care to assess non-diabetic nephropathy result in decreased wait times, reduced time to treatment, fewer adverse events, and decreased length of stay for inpatient, ED, and outpatient clinic patients when compared to evaluation of microalbuminuria using core lab methods?

We are unable to recommend dipstick testing for microalbuminuria at the point of care to assess non-diabetic nephropathy.  (Recommendation type I, Grade of evidence: N/A).

Table 15. Renal Question 15 Literature Search – October 29, 2003

Databases Searched:

Medline OVID (1966 – October Week 4, 2003)

Search Criteria:

#		Search History							Results

1		urine								113844

2		dipstick							783

3		microalbumin							160

4		microalbuminuria						2436

5		1 AND 2 AND (3 OR 4)					38

We selected 11 papers (35, 36, 42, 107-114) for full-text review (from 38 abstracts), but we were not able to grade any of the papers because they either did not specifically address the clinical question, or they did not contain evidence pertaining to patient outcomes.

Summary and Future Studies

With respect to most of the clinical questions, there is insufficient evidence to recommend for or against point-of-care testing (POCT) for renal function evaluation or urinalysis.  In the few cases where there is evidence, it does not support the routine use of PCOT.  We recommend against dipstick urinalysis for proteinuria both for screening and also for evaluation of pregnancy-induced hypertension or pre-eclampsia.  We were also unable to recommend POCT for BUN or creatinine with one exception, the cardiovascular diagnostics laboratory setting (CVDL).  We were able to find evidence that in a CVDL setting, implementation of renal function testing at the point of care was able to reduce patient wait times for a scheduled procedure (4).  Studies are needed that not only address comparison of POCT methods to core lab methods, but also to measure the impact of POCT on specific patient outcomes.  These studies are needed to address the variety of settings in which renal POCT is performed, and they should be controlled to address a for specific patient populations (e.g. ED, outpatient).  Ideally, studies will be performed in a randomized control format with groups treated based either on POCT or core lab methods.

References

1.	Gault MH, Harding CE. Evaluation of i-STAT portable clinical analyzer in a hemodialysis unit. Clin Biochem 1996;29:117-24.

2.	Gault MH, Harding CE, Duffett S, Longerich L. i-STAT hand-held point-of-care analyzer for dialysis units. Nephron 1998;80:344-8.

3.	Hernandez-Herrera G, Martin-Malo A, Rodriguez M, Aljama P. Assessment of the length of each hemodialysis session by on-line dialysate urea monitoring. Nephron 2001;89:37-42.

4.	Nichols JH, Kickler TS, Dyer KL, Humbertson SK, Cooper PC, Maughan WL, et al. Clinical outcomes of point-of-care testing in the interventional radiology and invasive cardiology setting. Clin Chem 2000;46:543-50.

5.	Nosanchuk JS, Keefner R. Cost analysis of point-of-care laboratory testing in a community hospital. Am J Clin Pathol 1995;103:240-3.

6.	Papadea C, Foster J, Grant S, Ballard SA, Cate JCt, Southgate WM, et al. Evaluation of the i-STAT Portable Clinical Analyzer for point-of-care blood testing in the intensive care units of a university children's hospital. Ann Clin Lab Sci 2002;32:231-43.

7.	Parvin CA, Lo SF, Deuser SM, Weaver LG, Lewis LM, Scott MG. Impact of point-of-care testing on patients' length of stay in a large emergency department. Clin Chem 1996;42:711-7.

8.	Kost GJ, Vu HT, Inn M, DuPlantier R, Fleisher M, Kroll MH, et al. Multicenter study of whole-blood creatinine, total carbon dioxide content, and chemistry profiling for laboratory and point-of-care testing in critical care in the United States. Crit Care Med 2000;28:2379-89.

9.	Baier KA, Markham LE, Flaigle SP, Nelson PW, Shield CF, Muruve NA, et al. Point-of-care testing in an organ procurement organization donor management setting. Clin Transplant 2003;17 Suppl 9:48-51.

10.	Asimos AW, Gibbs MA, Marx JA, Jacobs DG, Erwin RJ, Norton HJ, et al. Value of point-of-care blood testing in emergent trauma management. J Trauma 2000;48:1101-8.

11.	Canaud B, Bosc JY, Cabrol L, Leray-Moragues H, Navino C, Verzetti G, et al. Urea as a marker of adequacy in hemodialysis: lesson from in vivo urea dynamics monitoring. Kidney Int Suppl 2000;76:S28-40.

12.	Croal BL, Mutch WJ, Clark BM, Dickie A, Church J, Noble D, et al. The clinical application of a urine albumin:creatinine ratio point-of-care device. Clin Chim Acta 2001;307:15-21.

13.	Tsai WW, Nash DB, Seamonds B, Weir GJ. Point-of-care versus central laboratory testing: an economic analysis in an academic medical center. Clin Ther 1994;16:898-910; discussion 854.

14.	Hermansen MC, Blodgett FM. Prospective evaluation of routine admission urinalyses. Am J Dis Child 1981;135:126-30.

15.	Muntner P, He J, Hamm L, Loria C, Whelton PK. Renal insufficiency and subsequent death resulting from cardiovascular disease in the United States. J Am Soc Nephrol 2002;13:745-53.

16.	Ruttimann S, Clemencon D. Usefulness of routine urine analysis in medical outpatients. J Med Screen 1994;1:84-7.

17.	Belford EM, McKenna MJ, Whitehouse FW, Tomlanovich MC, Nowak RM. Evaluation of a new chemical dip strip for detecting ketonemia in the emergency setting. Am J Emerg Med 1987;5:393-4.

18.	Ojwang PJ, Manickum T, Deppe WM. Galactosaemia in black South African children. East Afr Med J 1999;76:247-50.

19.	Abbasi IA, Hess LW, Johnson TR, McFadden E, Chernow B. Leukocyte esterase activity in the rapid detection of urinary tract and lower genital tract infections in obstetric patients. Am J Perinatol 1985;2:311-3.

20.	Abitbol C, Zilleruelo G, Freundlich M, Strauss J. Quantitation of proteinuria with urinary protein/creatinine ratios and random testing with dipsticks in nephrotic children. J Pediatr 1990;116:243-7.

21.	Screening for asymptomatic bacteriuria, hematuria and proteinuria. The U.S. Preventive Services Task Force. Am Fam Physician 1990;42:389-95.

22.	de Buys Roessingh AS, Drukker A, Guignard JP. Dipstick measurements of urine specific gravity are unreliable. Arch Dis Child 2001;85:155-7.

23.	Karp WB, Kanto WP, Jr., Robertson AF. Quality control of laboratory tests run in a neonatal intensive care unit. Am J Dis Child 1986;140:114-6.

24.	Knottenbelt JD. Traumatic rhabdomyolysis from severe beating--experience of volume diuresis in 200 patients. J Trauma 1994;37:214-9.

25.	McCormack M, Dessureault J, Guitard M. The urine specific gravity dipstick: a useful tool to increase fluid intake in stone forming patients. J Urol 1991;146:1475-7.

26.	Parikh CR, Gyamlani GG, Carvounis CP. Screening for microalbuminuria simplified by urine specific gravity. Am J Nephrol 2002;22:315-9.

27.	Tighe P. Laboratory-based quality assurance programme for near-patient urine dipstick testing, 1990-1997: development, management and results. Br J Biomed Sci 1999;56:6-15.

28.	Birch NC, Stickle DF, Young A, Medina P, Hinrichs SH. Evaluation of urine specimen integrity in a public health STD screening program. Am J Clin Pathol 2003;119:516-21.

29.	Coritsidis GN, Guru K, Ward L, Bashir R, Feinfeld DA, Carvounis CP. Prediction of acute renal failure by "bedside formula" in medical and surgical intensive care patients. Ren Fail 2000;22:235-44.

30.	Kost GJ. New whole blood analyzers and their impact on cardiac and critical care. Crit Rev Clin Lab Sci 1993;30:153-202.

31.	Edworthy SM, Bloch DA, McShane DJ, Segal MR, Fries JF. A "state model" of renal function in systemic lupus erythematosus: its value in the prediction of outcome in 292 patients. J Rheumatol 1989;16:29-35.

32.	Koseki Y, Terai C, Moriguchi M, Uesato M, Kamatani N. A prospective study of renal disease in patients with early rheumatoid arthritis. Ann Rheum Dis 2001;60:327-31.

33.	Johnson H, Jr., Knee-Ioli S, Butler TA, Munoz E, Wise L. Are routine preoperative laboratory screening tests necessary to evaluate ambulatory surgical patients? Surgery 1988;104:639-45.

34.	Pugia MJ, Wallace JF, Lott JA, Sommer R, Luke KE, Shihabi ZK, et al. Albuminuria and proteinuria in hospitalized patients as measured by quantitative and dipstick methods. J Clin Lab Anal 2001;15:295-300.

35.	Pugia MJ, Lott JA, Luke KE, Shihabi ZK, Wians FH, Jr., Phillips L. Comparison of instrument-read dipsticks for albumin and creatinine in urine with visual results and quantitative methods. J Clin Lab Anal 1998;12:280-4.

36.	Pugia MJ, Lott JA, Clark LW, Parker DR, Wallace JF, Willis TW. Comparison of urine dipsticks with quantitative methods for microalbuminuria. Eur J Clin Chem Clin Biochem 1997;35:693-700.

37.	Olivarius ND, Mogensen CE. Danish general practitioners' estimation of urinary albumin concentration in the detection of proteinuria and microalbuminuria. Br J Gen Pract 1995;45:71-3.

38.	Hall DJ, Diasio R, Goplerud DR. cis-Platinum in gynecologic cancer. III. Toxicity. Am J Obstet Gynecol 1981;141:309-12.

39.	Agarwal R, Panesar A, Lewis RR. Dipstick proteinuria: can it guide hypertension management? Am J Kidney Dis 2002;39:1190-5.

40.	Poulsen PL, Hansen B, Amby T, Terkelsen T, Mogensen CE. Evaluation of a dipstick test for microalbuminuria in three different clinical settings, including the correlation with urinary albumin excretion rate. Diabete Metab 1992;18:395-400.

41.	Sewell DL, Burt SP, Gabbert NJ, Bumgardner RV. Evaluation of the Chemstrip 9 as a screening test for urinalysis and urine culture in men. Am J Clin Pathol 1985;83:740-3.

42.	Lum G. How effective are screening tests for microalbuminuria in random urine specimens? Ann Clin Lab Sci 2000;30:406-11.

43.	Craig JC, Barratt A, Cumming R, Irwig L, Salkeld G. Feasibility study of the early detection and treatment of renal disease by mass screening. Intern Med J 2002;32:6-14.

44.	Barton JR, O'Brien J M, Bergauer NK, Jacques DL, Sibai BM. Mild gestational hypertension remote from term: progression and outcome. Am J Obstet Gynecol 2001;184:979-83.

45.	Saudan PJ, Brown MA, Farrell T, Shaw L. Improved methods of assessing proteinuria in hypertensive pregnancy. Br J Obstet Gynaecol 1997;104:1159-64.

46.	Marx AM, Kropf J, Gressner AM. On the performance and reliability of mechanized urine teststrip measurement in comparison with visual reading. J Clin Chem Clin Biochem 1989;27:433-43.

47.	Crowley ST, Cantwell B, Abu-Alfa A, Rigsby MO. Prevalence of persistent asymptomatic proteinuria in HIV-infected outpatients and lack of correlation with viral load. Clin Nephrol 2001;55:1-6.

48.	Chadban SJ, Briganti EM, Kerr PG, Dunstan DW, Welborn TA, Zimmet PZ, et al. Prevalence of kidney damage in Australian adults: The AusDiab kidney study. J Am Soc Nephrol 2003;14:S131-8.

49.	Kuo VS, Koumantakis G, Gallery ED. Proteinuria and its assessment in normal and hypertensive pregnancy. Am J Obstet Gynecol 1992;167:723-8.

50.	Iseki K, Ikemiya Y, Iseki C, Takishita S. Proteinuria and the risk of developing end-stage renal disease. Kidney Int 2003;63:1468-74.

51.	Grimm RH, Jr., Svendsen KH, Kasiske B, Keane WF, Wahi MM. Proteinuria is a risk factor for mortality over 10 years of follow-up. MRFIT Research Group. Multiple Risk Factor Intervention Trial. Kidney Int Suppl 1997;63:S10-4.

52.	Culleton BF, Larson MG, Parfrey PS, Kannel WB, Levy D. Proteinuria as a risk factor for cardiovascular disease and mortality in older people: a prospective study. Am J Med 2000;109:1-8.

53.	Shaw ST, Jr., Poon SY, Wong ET. 'Routine urinalysis'. Is the dipstick enough? Jama 1985;253:1596-600.

54.	Ralston SH, Caine N, Richards I, O'Reilly D, Sturrock RD, Capell HA. Screening for proteinuria in a rheumatology clinic: comparison of dipstick testing, 24 hour urine quantitative protein, and protein/creatinine ratio in random urine samples. Ann Rheum Dis 1988;47:759-63.

55.	Guthrie RM, Lott JA. Screening for proteinuria in patients with hypertension or diabetes mellitus. J Fam Pract 1993;37:253-6.

56.	Gribble RK, Fee SC, Berg RL. The value of routine urine dipstick screening for protein at each prenatal visit. Am J Obstet Gynecol 1995;173:214-7.

57.	Kawamura T, Ohta T, Ohno Y, Wakai K, Aoki R, Tamakoshi A, et al. Significance of urinalysis for subsequent kidney and urinary tract disorders in mass screening of adults. Intern Med 1995;34:475-80.

58.	Karras DJ, Heilpern KL, Riley LJ, Hughes L, Gaughan JP. Urine dipstick as a screening test for serum creatinine elevation in emergency department patients with severe hypertension. Acad Emerg Med 2002;9:27-34.

59.	Meyer NL, Mercer BM, Friedman SA, Sibai BM. Urinary dipstick protein: a poor predictor of absent or severe proteinuria. Am J Obstet Gynecol 1994;170:137-41.

60.	Newman DJ, Pugia MJ, Lott JA, Wallace JF, Hiar AM. Urinary protein and albumin excretion corrected by creatinine and specific gravity. Clin Chim Acta 2000;294:139-55.

61.	Kore RN, Dow CS, Desai KM. A new automated system for urine analysis: a simple, cost-effective and reliable method for distinguishing between glomerular and nonglomerular sources of haematuria. BJU Int 1999;84:454-60.

62.	White AV, Hoy WE, McCredie DA. Childhood post-streptococcal glomerulonephritis as a risk factor for chronic renal disease in later life. Med J Aust 2001;174:492-6.

63.	Woolhandler S, Pels RJ, Bor DH, Himmelstein DU, Lawrence RS. Dipstick urinalysis screening of asymptomatic adults for urinary tract disorders. I. Hematuria and proteinuria. Jama 1989;262:1214-9.

64.	Moore GP, Robinson M. Do urine dipsticks reliably predict microhematuria? The bloody truth! Ann Emerg Med 1988;17:257-60.

65.	Kerr S, Marshall C, Sinclair D. Emergency physicians versus laboratory technicians: are the urinalysis and microscopy results comparable? A pilot study. J Emerg Med 1999;17:399-404.

66.	Dimech W, Roney K. Evaluation of an automated urinalysis system for testing urine chemistry, microscopy and culture. Pathology 2002;34:170-7.

67.	Lee-Lewandrowski E, Corboy D, Lewandrowski K, Sinclair J, McDermot S, Benzer TI. Implementation of a point-of-care satellite laboratory in the emergency department of an academic medical center. Impact on test turnaround time and patient emergency department length of stay. Arch Pathol Lab Med 2003;127:456-60.

68.	Lun A, Ivandic M, Priem F, Filler G, Kirschstein M, Ehrich JH, et al. Evaluation of pediatric nephropathies by a computerized Urine Protein Expert System (UPES). Pediatr Nephrol 1999;13:900-6.

69.	Khan MA, Shaw G, Paris AM. Is microscopic haematuria a urological emergency? BJU Int 2002;90:355-7.

70.	Hogg RJ, Harris S, Lawrence DM, Henning PH, Wigg N, Jureidini KF. Renal tract abnormalities detected in Australian preschool children. J Paediatr Child Health 1998;34:420-4.

71.	Tentori F, Stidley CA, Scavini M, Shah VO, Narva AS, Paine S, et al. Prevalence of hematuria among Zuni Indians with and without diabetes: The Zuni kidney Project. Am J Kidney Dis 2003;41:1195-204.

72.	Jou WW, Powers RD. Utility of dipstick urinalysis as a guide to management of adults with suspected infection or hematuria. South Med J 1998;91:266-9.

73.	Arm JP, Peile EB, Rainford DJ, Strike PW, Tettmar RE. Significance of dipstick haematuria. 1. Correlation with microscopy of the urine. Br J Urol 1986;58:211-7.

74.	Morimatsu H, Rocktaschel J, Bellomo R, Uchino S, Goldsmith D, Gutteridge G. Comparison of point-of-care versus central laboratory measurement of electrolyte concentrations on calculations of the anion gap and the strong ion difference. Anesthesiology 2003;98:1077-84.

75.	Murthy JN, Hicks JM, Soldin SJ. Evaluation of i-STAT portable clinical analyzer in a neonatal and pediatric intensive care unit. Clin Biochem 1997;30:385-9.

76.	Free AH, Free HM. Urinalysis: its proper role in the physician's office. Clin Lab Med 1986;6:253-66.

77.	Goh JT, Krause H. A prospective observational study on the accuracy of patient self-testing of urine at an antenatal clinic. Aust N Z J Obstet Gynaecol 2002;42:67-8.

78.	Millar JG, Campbell SK, Albano JD, Higgins BR, Clark AD. Early prediction of pre-eclampsia by measurement of kallikrein and creatinine on a random urine sample. Br J Obstet Gynaecol 1996;103:421-6.

79.	Martin JN, Jr., May WL, Magann EF, Terrone DA, Rinehart BK, Blake PG. Early risk assessment of severe preeclampsia: admission battery of symptoms and laboratory tests to predict likelihood of subsequent significant maternal morbidity. Am J Obstet Gynecol 1999;180:1407-14.

80.	Waugh J, Bell SC, Kilby M, Lambert P, Shennan A, Halligan A. Effect of concentration and biochemical assay on the accuracy of urine dipsticks in hypertensive pregnancies. Hypertens Pregnancy 2001;20:205-17.

81.	North RA, Taylor RS, Schellenberg JC. Evaluation of a definition of pre-eclampsia. Br J Obstet Gynaecol 1999;106:767-73.

82.	Wallace JF, Pugia MJ, Lott JA, Luke KE, Shihabi ZK, Sheehan M, et al. Multisite evaluation of a new dipstick for albumin, protein, and creatinine. J Clin Lab Anal 2001;15:231-5.

83.	Uttendorfsky OT, Veersema D, Mooij PN, Stolte LA. Protein/creatinine ratio in the assessment of proteinuria during pregnancy. Eur J Obstet Gynecol Reprod Biol 1988;27:221-6.

84.	Sibai BM, Ewell M, Levine RJ, Klebanoff MA, Esterlitz J, Catalano PM, et al. Risk factors associated with preeclampsia in healthy nulliparous women. The Calcium for Preeclampsia Prevention (CPEP) Study Group. Am J Obstet Gynecol 1997;177:1003-10.

85.	Murray N, Homer CS, Davis GK, Curtis J, Mangos G, Brown MA. The clinical utility of routine urinalysis in pregnancy: a prospective study. Med J Aust 2002;177:477-80.

86.	Bell SC, Halligan AW, Martin A, Ashmore J, Shennan AH, Lambert PC, et al. The role of observer error in antenatal dipstick proteinuria analysis. Br J Obstet Gynaecol 1999;106:1177-80.

87.	Jazayeri A, Chez RA, Porter KB, Jazayeri M, Spellacy WN. Urine protein dipstick measurements. A screen for a standard, 24-hour urine collection. J Reprod Med 1998;43:687-90.

88.	Bove P, Kaplan D, Dalrymple N, Rosenfield AT, Verga M, Anderson K, et al. Reexamining the value of hematuria testing in patients with acute flank pain. J Urol 1999;162:685-7.

89.	Trainor LD, Steinberg JP, Austin GW, Solomon HM. Indinavir crystalluria: identification of patients at increased risk of developing nephrotoxicity. Arch Pathol Lab Med 1998;122:256-9.

90.	Jacobs IA, Kelly K, Valenziano C, Chevinsky AH, Pawar J, Jones C. Cost savings associated with changes in routine laboratory tests ordered for victims of trauma. Am Surg 2000;66:579-84.

91.	Chandhoke PS, McAninch JW. Detection and significance of microscopic hematuria in patients with blunt renal trauma. J Urol 1988;140:16-8.

92.	Mariani AJ, Luangphinith S, Loo S, Scottolini A, Hodges CV. Dipstick chemical urinalysis: an accurate cost-effective screening test. J Urol 1984;132:64-6.

93.	Daum GS, Krolikowski FJ, Reuter KL, Colby JM, Silva WM. Dipstick evaluation of hematuria in abdominal trauma. Am J Clin Pathol 1988;89:538-42.

94.	Ford EG, Karamanoukian HL, McGrath N, Mahour GH. Emergency center laboratory evaluation of pediatric trauma victims. Am Surg 1990;56:752-7.

95.	Muckart DJ, McDonald MA. Evaluation of diagnostic peritoneal lavage in suspected penetrating abdominal stab wounds using a dipstick technique. Br J Surg 1991;78:696-8.

96.	Sinert R, Kohl L, Rainone T, Scalea T. Exercise-induced rhabdomyolysis. Ann Emerg Med 1994;23:1301-6.

97.	Press SM, Smith AD. Incidence of negative hematuria in patients with acute urinary lithiasis presenting to the emergency room with flank pain. Urology 1995;45:753-7.

98.	Kennedy TJ, McConnell JD, Thal ER. Urine dipstick vs. microscopic urinalysis in the evaluation of abdominal trauma. J Trauma 1988;28:615-7.

99.	Propp DA, Weber D, Ciesla ML. Reliability of a urine dipstick in emergency department patients. Ann Emerg Med 1989;18:560-3.

100.	Shirey TL. Critical care profiling for informed treatment of severely ill patients. Am J Clin Pathol 1995;104:S79-87.

101.	Slomovitz BM, Lavery RF, Tortella BJ, Siegel JH, Bachl BL, Ciccone A. Validation of a hand-held lactate device in determination of blood lactate in critically injured patients. Crit Care Med 1998;26:1523-8.

102.	Boldt J, Kumle B, Suttner S, Haisch G. Point-of-care (POC) testing of lactate in the intensive care patient. Accuracy, reliability, and costs of different measurement systems. Acta Anaesthesiol Scand 2001;45:194-9.

103.	Ahsan SK, Washington RJ, Ahsan N. Myoglobinuria: evaluation of methods in the clinical diagnosis acute renal failure. Indian J Med Sci 2001;55:443-52.

104.	Kasik JW, Leuschen MP, Bolam DL, Nelson RM. Rhabdomyolysis and myoglobinemia in neonates. Pediatrics 1985;76:255-8.

105.	Line RL, Rust GS. Acute exertional rhabdomyolysis. Am Fam Physician 1995;52:502-6.

106.	Loun B, Copeland KR, Sedor FA. Ultrafiltration discrepancies in recovery of myoglobin from urine. Clin Chem 1996;42:965-9.

107.	Gerber LM, Johnston K, Alderman MH. Assessment of a new dipstick test in screening for microalbuminuria in patients with hypertension. Am J Hypertens 1998;11:1321-7.

108.	Gerber LM, Schwartz JE, Cedeno-Mero C, Warren K, Pickering TG. Association of urinary albumin concentration with casual and ambulatory blood pressure: a similar relationship in normotensive and hypertensive subjects. Blood Press Monit 2001;6:245-51.

109.	Bakris GL. Microalbuminuria: prognostic implications. Curr Opin Nephrol Hypertens 1996;5:219-23.

110.	Bakris GL. Microalbuminuria: what is it? Why is it important? What should be done about it? J Clin Hypertens (Greenwich) 2001;3:99-102.

111.	Berry J. Microalbuminuria testing in diabetes: is a dipstick as effective as laboratory tests? Br J Community Nurs 2003;8:267-73.

112.	Davidson MB, Smiley JF. Relationship between dipstick positive proteinuria and albumin:creatinine ratios. J Diabetes Complications 1999;13:52-5.

113.	Hoy W, Jim S, Warrington W, Light A, Megill D. Urinary findings and renal function in adult Navajo Indians and associations with type 2 diabetes. Am J Kidney Dis 1996;28:339-49.

114.	Lindeman RD, Romero L, Liang HC, Hundley R, Baumgartner R, Koehler K, et al. Prevalence of proteinuria/microalbuminuria in an elderly urban, biethnic community. Geriatr Nephrol Urol 1998;8:123-30.