National Academy of Clinical Biochemistry Guidelines: The Use of MALDI-TOF Mass Spectrometry Profiling to Diagnose Cancer

Daniel W. Chan1*, Oliver J. Semmes2, Emanuel F. Petricoin3, Lance A. Liotta3, Da-elene van der Merwe4 and Eleftherios P. Diamandis4

1Department of Pathology, Center for Biomarker Discovery, Johns Hopkins Medical Institutions, Baltimore, MD 21287, USA; 2Department of Microbiology and Molecular Cell Biology, Virginia Prostate Centre, Eastern Virginia Medical School, Norfolk, Virginia 23507, USA; 3Center for Applied Proteomics and Molecular Medicine, College of Sciences, George Mason University, Manassas, VA 20110, USA; 4Department of Pathology and Laboratory Medicine, Mount Sinai Hospital, Toronto, Ontario, M5G 1X5, Canada and Department of Laboratory Medicine and Pathobiology, University of Toronto, Toronto, Ontario, M5G 1L5, Canada.

*Sub-Committee Chair, to whom all comments should be addressed via e-mail to dchan@jhmi.edu with copies to C.Sturgeon@ed.ac.uk and ediamandis@mtsinai.on.ca

# Key words: MALDI-TOF; mass spectrometry; cancer diagnostics

Abbreviations: CID, collisional-induced dissociation; ESI, electrospray ionization; ELISA, enzyme-linked immunosorbent assay; FT-ICR MS, Fourier transform ion cyclotron resonance mass spectrometry; MALDI, matrix-assisted laser desorption/ionization; MS, mass spectrometer; m/z, mass-to-charge ratio; NCI, National Cancer Institute; SELDI, surface-enhanced laser desorption/ionization; TOF, time-of-flight

# INTRODUCTION

Despite impressive scientific, medical and technological achievements over the past few decades, cancer is still a leading cause of death, largely because most cancer patients are diagnosed when disease is advanced. Accumulating evidence suggests that in the case of many cancers, early detection is associated with improved survival rates (1). Mass spectrometry has the potential to revolutionize cancer diagnostics by facilitating biomarker discovery, enabling tissue imaging and quantifying biomarker levels. This short review summarizes the principles of mass spectrometry as applied to cancer diagnostics and proposes recommendations for the use of this technique in clinical practice, based on currently published evidence and expert opinions.

PRINCIPLES OF DIAGNOSTIC MASS SPECTROMETRY

The typical mass spectrometer consists of an ion source, a mass analyzer that measures the mass-to-charge ratio (m/z) of the ionized analytes and a detector that registers the number of ions at each m/z value (2). A typical proteomic experiment with mass spectrometry consists of five stages: 1) separating the proteins present in the cell lysate, tissue or fluid by various fractionation or affinity selection techniques to reduce the complexity of the target proteome, 2) enzymatically degrading (usually with trypsin) the isolated proteins to peptides, 3) separating the peptides by techniques such as high performance liquid chromatography (HPLC) and directing the eluted fractions into an ion source (electrospray or MALDI) where they are converted into ionized species that enter the mass spectrometer, 4) taking a mass spectrum of the peptides eluting at each time point, and 5) identifying the protein fragments and parent proteins comprising the mass spectra by a variety of algorithmic approaches (3).

Mass spectrometric measurements are carried out in the gas phase of ionized species. Two commonly used techniques to volatize and ionize the proteins or peptides are electrospray ionization (ESI) and matrix-assisted laser desorption/ionization (MALDI) (4-6). A variant of the latter is surface-enhanced laser desorption/ionization (SELDI) (Ciphergen, ProteinChipTM) (7,8). The mass analyzer separates ionic species according to m/z ratio. Four basic types of mass analyzers are commonly used in proteomic research: the ion trap, time-of-flight (TOF), quadrupole and Fourier transform ion cyclotron resonance (FT-ICR), with a potential fifth variant being the new Orbitrap mass spectrometer (Thermo Electron, Inc). These basic types may be variously combined in hybrid instruments.

Protein identification is achieved through either peptide mass fingerprinting or peptide sequencing. In the former, peptide masses are compared with mass spectra of proteins listed in databases using appropriate software (9,10). Peptide sequencing is based on induction of random cleavage of peptide bonds between adjacent amino acid residues, using approaches such as collision-induced dissociation (CID). The resulting ion series is analyzed by software (11-15) to determine the amino acid sequence.

APPLICATION OF MASS SPECTROMETRY IN CANCER DIAGNOSTICS

Mass spectrometry has been applied to cancer in a variety of contexts, including

- Diagnosis, prognosis, and management

- Biomarker discovery

- Diagnostic tissue imaging

- Biological studies related to mechanism of disease.

Mass spectrometry is considered to be particularly well suited to serve as a diagnostic or biomarker discovery tool in cancer, given emerging evidence that during cancer development, cancer cells and/or the surrounding microenvironment generate proteins and peptides of different type and in different concentrations than normal cells. These abnormal tissue distributions can be analyzed by imaging-based mass spectrometry and the patterns compared with controls to identify cancer-specific changes that may prove to be clinically useful. Should leakage to the circulation occur from the tumor-host microenvironment, then a multiplex of cancer-specific analytes may be detectable in the blood as well, leading to even more widespread clinical utility and convenience of testing (16-19). This concept is graphically illustrated in Figure 1.

The identification of cancer-specific protein patterns in blood by mass spectrometry was first demonstrated by Petricoin et al. (18) and Rai et al. (20) for ovarian cancer, Li et al. (21) for breast cancer and Adam et al. (22) for prostate cancer. Subsequently, many other investigators have used similar approaches to identify multiple markers and informative profiles for many other types of cancer, as summarized in Table 1 (18-51).

In almost every published paper, the profiles generated by MALDI-TOF MS have been shown to yield better diagnostic sensitivities and specificities than the established cancer biomarkers in current use.  Because of this, the MALDI-TOF MS approaches have received extensive publicity since they promise to revolutionize early cancer detection, sub-classification, prognosis, prediction of therapeutic response, etc. However, the initial enthusiasm has been tempered somewhat by parallel reports that have identified potential problems with this approach and its clinical reliability (52-71). These issues are not unlike those facing the gene transcript profiling community (64). Future validation studies will determine how close this technology is for clinical use.

CURRENT ADVANCES AND EXISTING LIMITATIONS OF MALDI-TOF MASS SPECTROMETRY-BASED PROFILING FOR CANCER DETECTION

If MALDI-TOF profiling is to be successful in the transition from a research technique to a clinical diagnostic tool, then an extensive understanding of pre-analytical, analytical and post-analytical sources of variation must be realized and controlled (52-71). For example, the effect of sample storage and processing, sample type, patient selection and demographic variables (gender, age) on test outcome must be clearly established (72). Analytical performance must improve to the point where sensitivity, specificity and the dynamic range become comparable to those of established techniques such as ELISA. The reproducibility of protein patterns across different batches of chips (when SELDI-TOF is employed), different analysts, different sites and different instrumentation is still under investigation. Robustness of the methodology, in general, is of concern, as are issues related to bioinformatic artifacts, data over-fitting and bias arising from experimental design. However, a large number of these issues relate to inappropriate analysis of publicly available mass spectral data sets that were not meant to be compared. Recently, a large consortium of investigators has shown success at reproducibly obtaining mass spectral signatures, including diagnostically important ones, at multiple sites across time and instruments. This finding establishes a very positive result for those attempting to employ MALDI-TOF type approaches for protein fingerprinting based diagnostics (66).

The current limitations and promises of MALDI-TOF, particularly as applied to clinical practice and cancer diagnostics, are addressed more fully in several recently published reviews (17,19,52,54,67-71).

MALDI-TOF MASS SPECTROMETRY PROFILING: NACB RECOMMENDATIONS

Despite numerous publications describing impressive results of MALDI-TOF mass spectrometry as a diagnostic tool (Table 1), the level of published evidence, as described by Hayes et al. (73), is Level V (evidence from small pilot studies that estimate distribution of marker levels in sample population). According to the criteria of Pepe et al. (75), the stage of development of this technology as a biomarker tool is Phase 1 (preclinical exploratory studies). Based on this information, we have formulated the recommendations shown in Table 2. There is little question that MALDI-TOF MS approaches, either as a direct profiling tool, or using affinity enrichment front end components (e.g. Immuno-MS) will eventually become established in the diagnostic arena given its inherently attractive features, including analysis without the need for a labeling molecule, potentially perfect specificity, multiparametric analysis, high-throughput, very low sample volume requirements, and direct interface with computer algorithms. The major limitations of the MALDI-TOF technology for MS profiling type work are, at present, a) the cross-platform reliability of the signatures generated; b) dramatic effects on final spectral composition from subtle changes in sample handling and processing; and c) analytical sensitivity, especially when the analyte is present in minute amounts in a highly complex mixture that includes high abundance molecules. However, new research has indicated that many low abundance proteins and low molecular weight analytes exist in a bound state in the serum, and are effectively amplified by carrier protein based sequestration (76-81). These low molecular weight analytes appear to have underpinned many past spectral fingerprints, thus indicating that many of these ions may be generated from low abundant analytes. A list of these low molecular weight carrier protein bound analytes have has recently been provided for early stage ovarian cancer patients (79), and the concept verified in an independent study with Alzheimer’s disease detection (81). In that study, high-resolution MALDI-TOF serum proteomic profiling of Alzheimer disease samples reveals disease-specific, carrier-protein-bound mass signatures. These recent findings, together with other recent publications (24,29) describing truncated or fragments of proteins (“fragmentome”) of the circulatory proteome, indicate that MALDI-TOF based approaches may be measuring analytes that are disease specific, of lower abundance than previously thought, and novel.

We conclude that, like all technologies that directly impact patient health, until extensive validation studies are performed, MALDI-TOF MS fingerprinting approaches should not be used as a diagnostic test for cancer in clinical practice. We recommend that investigators should perform such validation experiments following CAP/CLIA based codes of good practice and should provide data in a transparent form for full evaluation by the scientific community. We also recommend that in experiments in which MS fingerprinting is being employed, appropriate independent validation sets should be employed using inflammatory and benign controls along with high numbers of unaffected controls, since specificity will be an important determining factor of success in the clinic, especially for screening indications. Despite recent difficulties in extending research observations for genomic and proteomic profiling, the field is now evolving with a better understanding of potential sources of bias and instrument variances, as well as the requirements for developing good laboratory practices and standard operating procedures such that clinical adoption and validation could be achieved in the near term.

REFERENCES

- Menon U, Jacobs IJ. Recent developments in ovarian cancer screening. Curr Opin Obstet Gynecol 2000;1 2: 39-42.

- Aebersold R, Mann M. Mass spectrometry-based proteomics. Nature 2003; 422:198-207.

- Lim MS, Elenitoba-Johnson KSJ. Proteomics in pathology research. Lab Investigation 2004; 84: 1227-44.

- Fenn JB, Mann M, Meng CK, Eong SF, Whitehouse CM. Electrospray ionization for the mass spectrometry of large biomolecules. Science 1989; 2456:64-71.

- Nakanishi T, Okamoto N, Tanaka K, Shimizu A. Laser desorption time-of-flight mass spectrometric analysis of transferring precipitated with antiserum: a unique simple method to identify molecular weight variants. Biol Mass Spectrom 1994; 23(4):220-3.

- Karas M, Hillenkamp F. Laser desorption ionization of proteins with molecular mass exceeding 10 000 daltons. Anal Chem 1988; 60:2299-2301.

- Merchant M, Weinberger SR. Recent advancements in surface-enhanced laser desertion/ionization-time of flight mass spectrometry. Electrophoresis 2000; 21:1164-77.

- Clarke W, Chan DW. ProteinChips: the essential tools for proteomic biomarker discovery and future clinical diagnostics. Clin Chem Lab Med. 2005; 43:1279-80.

- Wilkins MR, Gasteiger E, Wheeler CH. Multiple parameter cross-species protein identification using MultiIdent-a world-wide web accessible tool. Electrophoresis 1998; 19: 3199-3206.

- Zhang W, Chait BT. ProFound: an expert system for protein identification using mass spectrometric peptide mapping information. Anal Chem 2000; 72:2482-89.

- Nesvizhskii AI, Keller A, Kolker E. A statistical model for identifying proteins by tandem mass spectrometry. Anal Chem 2003; 75: 4646 -58.

- Von Haller PD, Yi E Donohoe S. The application of new software tools to quantitative protein profiling via isotope-coded affinity tag (ICAT) and tandem mass spectrometry: I. Statistically annotated datasets for peptide sequences and proteins identified via the application of ICAT and tandem mass spectrometry to proteins copurifying with T cell lipid rafts. Mol Cell Proteomics 2003; 2:426-27.

- Von Haller PD, Yi E Donohoe S, et al. The application of new software tools to quantitative protein profiling via isotope-coded affinity tag (ICAT) and tandem mass spectrometry: II. Evaluation of tandem mass spectrometry methodologies for large-scale protein analysis, and the application of statistical tools for data analysis and interpretation. Mol Cell Proteomics 2003; 2:428-42.

- Keller A, Nesvizhskii AI, Kolker E. Empirical statistical model to estimate the accuracy of peptide identifications made by MS/MS and database search. Anal Chem 2002; 74:5383-92.

- Conrads TP, Issaq HJ, Veenstra TD. New tools for quantitative phosphoproteome analysis. Biochem Biophys Res Commun 2002; 290:885-90.

- Pusch W, Flocco MT, Leung S, Thiele H, Kostrzewa M. Mass spectrometry-based clinical proteomics. Pharmacogenomics 2003; 4:463-476.

- Wulfkuhle JD, Liotta AL, Petricoin EF. Proteomics applications for the early detection of cancer. Nature Reviews Cancer 2003; 3: 267-27.

- Petricoin III EF, Ardekani AM, Hitt BA, Levine P, Fusaro VA, Steinberg S, et al. Use of proteomic patterns in serum to identify ovarian cancer. Lancet 2002; 359:572-75.

- Rai AJ, Chan DW. Cancer proteomics: Serum diagnostics for tumor marker discovery. Ann N Y Acad Sci. 2004;1022:286-94.

- Rai AJ, Zhang Z, Rosenzweig J, Shih L, Pham T, Fung ET, et al. Proteomic approaches to tumor marker discovery. Arch Pathol Lab Med 2002; 126:1518-26.

- Li J, Zhang Z, Rosenzweig J, Wang YY, Chan DW. Proteomics and bioinformatics approach for identification of serum biomarkers to detect breast cancer. Clin Chem 2002; 48:1296-1304.

- Adam B-L, Qu Y, Davies JW, Ward MD, Clements MA, Cazares LH, et al. Serum protein fingerprinting coupled with a pattern-matching algorithm distinguishes prostate cancer from benign prostate hyperplasia and healthy men. Cancer Res 2002; 62:3609-14.

- Cho WSC, Yip TTC, Yip C, Yip V, Thulasiraman V, Ngan RKC et al. Identification of serum amyloid A protein as a potentially useful biomarker to monitor relapse of nasopharyngeal cancer by serum proteomic profiling. Clin Cancer Res 2004; 10: 43-52.

- Zhang Z, Bast Jr, RC, Yu Y, Li J, Sokoll LJ, Rai AJ, et al. Three biomarkers identified from serum proteomic analysis for the detection of early stage ovarian cancer. Cancer Res 2004; 64:5882-90.

- Liotta L, Petricoin EF. Molecular profiling of human cancer. Nature Rev Genetics 2000; 1:48-65.

- Sauter ER, Zhu W, Wassell RP, Chervoneva I, Du Bois GC. Proteomic analysis of nipple aspirate fluid to detect biologic markers of breast cancer. Brit J Cancer 2002; 86: 1440-43.

- Stegner AH, Wagner-Mann C, Du Bois GC, Sauter ER. Proteomic analysis to identify breast cancer biomarkers in nipple aspirate fluid. Clin Cancer Res 2004; 10: 7500-10.

- Li J, Zhao J, Yu X, Lange J, Kuerer H, Krishnamurthy S, et al. Identification of biomarkers for breast cancer in nipple aspiration and ductal lavage fluid. Clin Cancer Res. 2005;11:8312-20.

- Li J, Orlandi R, White CN, Rosenzweig J, Zhao J, Seregni E, et al. Independent validation of candidate breast cancer serum biomarkers identified by mass spectrometry. Clin Chem. 2005;51:2229-35.

- Lehrer S, Roboz J, Ding H, Zhao S, Diamon EJ, Holland JF, et al. Putative protein markers in the sera of men with prostatic neoplasms. Brit J Urol Intl 2003; 92: 223-25.

- Wright GL, Cazares LH, Leung S, Nasim S, Adam B, Yip T, et al. Proteinchip surface enhanced laser desorption/ionization (SELDI) mass spectrometry: a novel biochip technology for detection of prostate cancer biomarkers in complex protein mixtures. Prostate Cancer Prostatic Dis 1999; 2: 264 -76.

- Qu Y, Adam B-L, Yasui y, Ward MD, Cazares LH, Schellhammer PF, Zeng Z, et al. Boosted decision tree analysis of surface-enhanced laser desorption/ionization mass spectral serum profiles discriminated prostate cancer from non-prostate patients. Clin Chem 2002; 48:1835-43.

- Petricoin III EF, Ornstein DK, Paweletz CP, Ardekani A, Hackett PS, Hitt BA. Serum proteomic patterns for detection of prostate cancer. J Natl Cancer Inst 2002; 94: 1576 -8.

- Li J, White N, Zhang Z, Rosenzweig J, Mangold LA, Partin AW, et al. Detection of prostate cancer using serum proteomics pattern in a histologically confirmed population. J Urol. 2004;171:1782-7.

- Vlahou A, Schellhammer PF, Mendinos S, Patel K, Kondylis FI, Gong L, et al. Development of a novel proteomic approach for the detection of transitional cell carcinoma of the bladder in urine. Am J Pathology 2001; 158: 1491-1502.

- Langridge J, McClure T, El-Shakawi S, Fielding Am Scharm K, Newton R. Gas chromatography mass spectrometric analysis of urinary nucleosides in cancer patients. Potential of modified nucleosides as tumour markers. Rapid Commun Mass Spectrom 1993; 7: 427-34.

- Koomen JM, Shih LN, Coombes KR, Li D, Xiao L-C, Fidler IJ, Abbruzzese JL, et al. Plasma protein profiling for diagnosis of pancreatic cancer reveals the presence of host response proteins. Clin Cancer Res 2005; 11: 1110-18.

- Sasaki K, Sato K, Akiyama Y, Yanagihara K, Masaaki O, Yamauchi K. Peptidomics-based approach reveals the secretion of the 29-residue COOH-terminal fragment of the putative tumor suppressor protein DMBT 1 from pancreatic adenocarcinoma cell lines. Cancer Res 2002; 62:4894-98.

- Rosty C, Christa Lm Kuzdzal S, Baldwin WM, Zahurak ML, Carnot F, et al. Identification of hepatocarcinoma-intestine-pancreas/pancreatitis-associated protein 1 as a biomarker for pancreatic ductal adenocarcinoma by protein biochip technology. Cancer Res 2002; 15:62:1868-75.

- Koopmann J, Zhang Z, Rosenzweig J, Fedarko N, Jagannah S, Canto MI, et al. Goggins M. Serum diagnosis of pancreatic adencarcinoma using surface-enhance laser desorption and ionization mass spectrometry. Clin Cancer Res 2004; 10: 860-68.

- von Eggeling F, Davies H, Lomas L, Fiedler W, Junker K, Classen U, et al. Tissue-specific microdissection coupled with Protein Chip array technologies: applications in cancer research. Biotechniques 2000; 29:1066-69.

- Wadsworth JT, Somers KD, Stack BCJ, Cazares L, Malik G, Adam BL, et al. Identification of patients with head and neck cancer using serum protein profiles. Arch Otolaryngol Head Neck Surg 2004; 130:98-104.

- Zhukov TA, Johanson RA, Cantor AB, Clark RA, Tockman MS. Discovery of distinct protein profiles specific for lung tumors and premalignant lung lesions by SELDI mass spectrometry. Lung Cancer 2003; 40:267-79.

- Dolios G, Roboz J, Wang R. Identification of colon cancer associated protein in plasma using MALDI-TOF mass spectrometry. (2003) 51st ASMS Conf. Mass Spectrometry and Allied Topics.

- Ferrari L, Seraglia R, Rossi CR, Bertazzo A, Lise M, Allegri G, et al. Protein profiles in sera of patients with malignant cutaneous melanoma. Rapid Commun Mass Spectrom 2000; 14:1149-54.

- Poon TCW. Yip T, Chan ATC, Yip C, Yip V, Mok TSK, et al. Comprehensive proteomic profiling identifies serum proteomic signatures for detection of hepatocellular carcinoma and its subtypes. Clin Chem 2003; 49: 752-60.

- Stoecli M, Chaurand P, Hallahan DE, Caprioli RM. Imaging mass spectrometry: A new technology for the analysis of protein expression in mammalian tissues. Nat Med 2001; 7: 493-96.

- Palmer-Toy DE, Sarracino DA, Sgroi D, LeVangie R, Leopold PE. Direct acquisition of matrix-assisted laser desorption/Ionization time-of-flight mass spectra from laser capture microdissected tissue. Clin Chem 2000; 46: 1513-16.

- Xu BJ, Caprioli RM, Sanders ME, Jensen RA. Direct analysis of laser capture microdissection cells by maldi mass spectrometry. J Am Soc Mass Spectrom 2002; 13: 1292-97.

- Bhattachrya SH, Gal AA, Murray KKJ. Laser capture microdissection MALDI for direct analysis of archival tissue. Proteome Res 2003; 2: 95-98.

- Yanagisawa K, Shyr Y, Xu BJ, Massion PP, Larsen PH, White BC, et al. Proteomic patterns of tumour subsets in non-small-cell-lung cancer. Lancet 2003; 362: 433-39.

- Diamandis EP. Proteomic patterns in biological fluids: Do they represent the future of cancer diagnostics? Clin Chem 2003;49:1272-1278.

- Semmes OJ, Cazares L, Ward MD, Maloney E, Hisada M, Gygi S, et al. Discrete protein signatures discriminate between adult T-cell leukemia and HTLV-1-associated myelopathy. Leukemia 2005; 19:1229-1238.

- Diamandis EP. Analysis of serum proteomic patterns for early cancer diagnosis: Drawing attention to potential problems. J Natl Cancer Inst 2004; 96:353-356.

- Diamandis EP. Mass spectrometry as a diagnostic and a cancer biomarker discovery tool: Opportunities and potential limitations. Mol Cell Proteomics 2004;3:367-378.

- Diamandis EP, van der Merwe D. Plasma protein profiling by mass spectrometry for cancer diagnosis: Opportunities and limitations. Clin Cancer Res 2005;11: 963-65.

- Sorace JM, Zhan M. A data review and re-assessment of ovarian cancer serum proteomic profiling. B.M.C. Bioinformatics 2003 4, 24. [http://www.biomedcentral.com/147-2105/4/24].

- Rogers MA, Clarke P, Noble J, Munro NP, Paul A, Selby PJ. Proteomic profiling of urinary proteins in renal cancer by surface enhanced laser desorption ionization and neural network analysis: identification of key issues affecting potential clinical utility. Cancer Res 2003; 63:6971-83.

- Baggerly KA, Morris JS, Coombes KR. Reproducibility of SELDI-TOF protein patterns in serum: Comparing data sets from different experiments. Bioinformatics Adv Access 1-9, 2004, Oxford Press.

- Master SR.  Diagnostic proteomics. Back to basics? Clin Chem 2005;51:1333-1334.

- Karsan A, Eigl BJ, Flibotte S, Gelmon K, Switzer P, Hassell P, Harrison D, Law J, Hayes M, Stillwell M, Xiao Z, Conrads TP, Veenstra T.  Analytical and preanalytical biases in serum proteomic pattern analysis for breast cancer diagnosis. Clin Chem 2005;51: 1525-1528.

- Banks RE, Stanley AJ, Cairns DA, Barrett JH, Clarke P, Thompson D, et al. Influences of blood sample processing on low-molecular-weight proteome identified by surface-enhanced laser desorption/ionization mass spectrometry. Clin Chem 2005;51:1637-1649.

- Baggerly KA, Morris JS, Edmonson SR, Coombes KR. Signal in noise: evaluating reported reproducibility of serum proteomic tests for ovarian cancer. J Nat. Cancer Inst 2005; 97:307-9.

- Michiels S, Koscielny S, Hill C. Prediction of cancer outcome with microarrays: a multiple random validation strategy. Lancet 2005; 365:499-92.

- Liotta LA, , Mehta A, Conrads TP, Veenstra TD, Fishman DA, Petricoin EF 3rd. Importance of communication between producers and consumers of publicly available experimental data. J Natl Cancer Inst 2005; 97:310-4.

- Semmes OJ, Feng Z, Adam BL, Banez LL, Bigbee WL, Campos D, et al. Evaluation of serum protein profiling by surface-enhanced laser desorption/ionization time-of-flight mass spectrometry for the detection of prostate cancer: I. Assessment of platform reproducibility. Clin Chem 2005; 51:102-12.

- Ransohoff DF. Bias as a threat to the validity of cancer molecular-marker research. Nat Rev Cancer 2005; 5: 142-149.

- White CN, Zhang Z, Chan DW. Quality control for SELDI analysis. Clin Chem Lab Med. 2005;43:125-6.

- Semmes OJ. The “omics” haystack: Defining sources of sample bias in expression profiling. Clin Chem 2005; 51:1571-1572.

- Ransohoff DF. Lessons from controversy: ovarian cancer screening and serum proteomics. J Natl Cancer Inst 2005; 97:315-9.

- Zhang Z, Chan DW. Cancer proteomics: in pursuit of "true" biomarker discovery. Cancer Epidemiol Biomarkers Prev. 2005;14:2283-6.

- Rai AJ, Gelfand CA, Haywood BC, Warunek DJ, Yi J, Schuchard MD, et al. HUPO Plasma Proteome Project specimen collection and handling: towards the standardization of parameters for plasma proteome samples. Proteomics. 2005;5:3262-77.

- Hayes DF, Bast RC, Desch CE, Fritsche H Jr, Kemeny NE, Jessup JM, et al. Tumor marker utility system: a framework to evaluate clinical utility of tumor markers. J Natl Cancer Inst 1996; 88: 1419-20.

- Semmes OJ. Defining the role of mass spectrometry in cancer diagnostics. Cancer Epidemiol Biomarker Prev 2004; 13:1555-1557.

- Pepe SM, Etzioni R, Feng Z, Potter JD, Thompon ML, Thornquist M, et al. Phases of biomarker development for early detection of cancer. J Natl Cancer Inst 2001; 93: 1054-61.

- Lowenthal MS, Mehta AI, Frogale K, Bandle RW, Araujo RP, Hood BL, et al. Clin Chem 2005; 51:1933-45.

- Liotta LA, Ferrari M, Petricoin E. Clinical proteomics: written in blood. Nature 2003; 425:905.

- Tirumalai RS, Chan KC, Prieto DA, Isaaq HJ, Conrads TP, Veenstra TD. Characterization of the low molecular weight human serum proteome. Mol Cell Proteomics 2003; 2:1096-103.

- Zhou M, Lucas DA, Chan KC, Issaq HJ, Petricoin EF 3rd, Liotta LA, et al. An investigation into the human serum “interactome”. Electrophoresis 2004; 25:1289-98.

- Lopez MF, Mikulskis A, Kuzdzal S, Bennett DA, Kelly J, Golenko E, et al. High-resolution serum proteomic profiling of Alzheimer disease samples reveals disease-specific, carrier-protein-bound mass signatures. Clin Chem 2005; 51:1946-54.

- Colantonio DA, Chan DW. The clinical application of proteomics. Clin Chim Acta. 2005;357:151-8.

Table 1. Mass spectrometry for cancer diagnosis and imaging

| Application | Cancer type | References |
| --- | --- | --- |
| Cancer Diagnosis | Nasopharyngeal Ovarian Breast Prostate Bladder Pancreatic Head and Neck Lung Colon Melanoma Hepatocellular | 23 18,20,24 21,25-29 22,30-34 35,36 37-40 41,42 43 44 45 46 |
| Tissue imaging | Gliomas Breast Lung | 47 48-50 51 |

# Table 2. NACB Recommendations for use of MALDI-TOF MS in Cancer Diagnostics

MALDI-TOF MS profiling in the realm of cancer diagnostics should currently be considered an investigational and research tool that, like all unvalidated methods, at this time is insufficiently reliable to be the basis of clinical decisions. 2. In order for MALDI-TOF MS profiling to become a clinically reliable tool, it must undergo validation according to the principles such as those described by Pepe et al (68) and avoid biases, as described by Ransohoff (67). For MALDI-TOF MS profiling testing, validation of discriminatory peaks in the mass spectra should include statistically powered independent testing and validation sets that include large numbers of inflammatory controls, benign disorders and healthy controls, as well as other cancers. The degree of statistical powering of the validation studies should be carried out under methods such as those described by Pepe et al (68) as well as with consideration of the intended clinical use of the test itself. Stability of bioinformatic algorithms should be evaluated using large numbers of samples, preferably from several institutions and countries. Standardized protocols should be developed for sample collection, handling and processing. Quality control and reference materials for MALDI-TOF MS must be developed and used more widely to monitor and improve method reliability.

Figure 1. Secretion of specific biomarkers into the blood circulation by tumors. Tumor-specific proteins may be actively secreted by tumor cells or released into the circulatory system by necrosis and apoptosis of these cells. Either of these conditions leads to an alteration of the serum protein profile. This may result in detectable differences based either on relative or unique signal intensities when comparing sera from normal and disease samples. [Figure reproduced from Reference 16 with permission from copyright owners]